## Instructions
4099I
Form 4099.I – Technical Solar Assessment
October, 2023
CONTENTS
|  | Lender Validation | Lender Validation tab: The Lender verifies the Savings Underwriting.
|  | QC Alerts | QC tab: After the rest of the workbook has been completed, the Lender and Solar Technical Consultant use this tab to review and address error alerts.
|  | Input-SystemDetails | INPUT tabs: The Solar Technical Consultant is responsible for entering complete and accurate project information in these tabs.
Input-RoofMountedSystems
Input-UpfrontExpenses
Input-Income
Input-Proforma
Input-
REPORT tabs: These tables will be automatically populated with data from the Input tabs. The HPB Consultant must paste the resulting tables into the HPB Report.
HOW TO USE THIS FILE
Solar Technical Consultant:
| 1) | Enter required project information in the Input tabs.
| 2) | In the QC Alerts tab, review any QC alerts and address all issues in the space provided.
| 3) | Review Input tabs and confirm all required (yellow) fields and applicable optional (white) fields are complete.
Lender:
| 1) | Review all Input tabs for completeness. Any yellow fields indicate required information that must be filled out.
| 2) | In the QC Alerts tab, review any QC alerts and responses from the Solar Technical Consultant.
| 3) | Complete the Lender Validation tab. Verify program eligibility and score the report quality.
| 4) | If the report or 4099.I requires corrections, work with the Solar Technical Consultant to resolve issues.
| 5) | Work with HPB Consultant to incorporate Solar PV System Installation and Roof Replacement, if applicable, as EWEMs in Form 4099.H. Review to confirm all descriptions, costs, and savings are captured accurately in Form 4099.H.

## Lender Validation
Report Validation by Lender
Instructions to Lender:
1) Review entire workbook to verify that no yellow cells are incomplete, and Solar Technical Consultant has satisfactorily responded to any QC alerts in Check Errors tab.
2) Score the Solar Technical Asssessment Quality: 1 - No further corrections; 2 - Minor corrections; 3 - Substantial issues. Enter your name and date of approval.
3) If Solar Technical Assessment has scored 2 or 3 (requires corrections), return this workbook to the Solar Technical Consultant until all issues are resolved.
4) High Perfomance Building Consultant must incorporate the recommended measures into Form 4099.H as Energy and Water Efficiency Measures (EWEMs).
Technical Solar Assessment Report Rating
Submitted to (Lender)
Report Quality Score
|  | Reviewer Name |  |  | Date Approved
Summary of Solar PV System
|  |  | Total Photovoltaic System Size | 0 | kW DC
|  |  | Total Upfront Cost | 0
|  |  | Roof Replacement Recommended | No
Allowable Underwritten Cost Savings
|  |  |  | Owner | Tenant
|  |  | Projected Energy Cost Savings (Year 1) | 0 | 0
|  |  | % that may be underwritten | 75% | 25%
|  |  | Allowable UW Energy Cost Savings | 0 | 0
| Annual Energy Cost Savings (averaged over lifetime) |  |  | 0
Recommended Measures for Form 4099.H
NOTE: HPB Consultant must use the following EWEMs in the Form 4099.H accompanying the HPB Report. EWEM information below and in the 4099.H should match exactly.
Efficiency Measures for Solar PV System Installation
Review and include the following EWEM in Form 4099.H.
| Energy and Water Efficiency Measure Category |  |  | Type of Energy and Water Efficiency Measure | Description of the Energy and Water Efficiency Measure | Installed Cost | Annual Owner Cost Savings | Annual Tenant Cost Savings | Annual Electricity Savings | EUL
[7 empty] | Energy | Energy
[6 empty] | $ | $ | $ | kWh | years
| Renewable energy systems |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 25
Efficiency Measures for Roof Replacement
If roof replacement has been recommended as part of the solar PV installation, review and include the following EWEM in Form 4099.H.
| Energy and Water Efficiency Measure Category |  |  | Type of Energy and Water Efficiency Measure | Description of the Energy and Water Efficiency Measure | Installed Cost | Annual Owner Cost Savings | Annual Tenant Cost Savings | Annual Electricity Savings | EUL
[7 empty] | Energy | Energy
[6 empty] | $ | $ | $ | kWh | years
[5 empty] | 0 | 0 | 0 | 0 | 0

## QC Alerts
Fannie Mae Multifamily Form 4099.I
QC Alerts
Instructions: Check all required (yellow) fields throughout workbook have been completed. Solar Technical Consultant must respond to any QC Alerts in column G by correcting errors or by providing an adequate description of exceptions to the alert.
| Category | QC Item | QC Alert | Solar Technical Consultant Response
| System Details | System Details: Solar PV System Details
| System Details | System Details: Battery Storage System Details
| System Details | System Components
| System Details | Permitting and Interconnection
| Roof-Mounted Systems | Roof-Mounted Systems
| Roof-Mounted Systems | Roof-Mounted Systems (Contractor Approval)
| Upfront Expenses | Upfront Expenses
| Upfront Expenses | Operation and Maintenance
| Income | Savings From Energy Generation
| Income | Available Incentives
| Income | Financing Conditions
| Proforma | Lifetime Cash Flow (Income)
| Proforma | Lifetime Cash Flow (Expenses)

## Input-SystemDetails
INPUT: System Details
Instructions: Enter project details and basic system information. Yellow fields indicate required information. White fields are optional.
PROJECT INFORMATION
Property Name
Solar Technical Consultant Company
Site Visit Date
Initial Submission Date
Revision 1 Date
Revision 2 Date
Revision 3 Date
Revision 4 Date
SYSTEM DETAILS
The following project and description must be included as an EWEM in the HPB Report and Form 4099.H. See 'Lender Validation' tab for EWEMs that must be entered in Form 4099.H.
Recommended Project
Description of Recommended Project
Description must include recommended technologies, system size, location, and any necessary remediation of pre-existing conditions.
Solar PV System Details
| DC System Size |  | kW DC |  |  |  | ALERTS
| AC System Size |  | kW AC
| Expected annual production |  | kWh/year
Total Solar Resource Fraction (TSRF)
Location of panels
Location of inverters and other electrical equipment
On-going monitoring data capability
Battery Storage System Details
Note: Battery storage may not be used to provide ancillary services beyond resiliency. System must remain grid-connected. | [6 empty] | ALERTS
Does this project include battery storage for resilient infrastructure?
Battery system type
| Rated storage capacity |  | kWh
| Power rating |  | kW
SYSTEM COMPONENTS
| System component | Description of Equipment | Equipment Unit Count | Equipment warranty (years) | Performance warranty (years) | Useful life (years) | ALERTS
Panels
| Inverters |  |  |  | n/a
| Racking system |  | n/a |  | n/a
| Battery storage (if applicable) |  |  |  | n/a
PERMITTING AND INTERCONNECTION
Provide expected timeline for key milestones for interconnection in weeks from start of project. Add other permits or key milestones as applicable.
| Milestone | Number of weeks from project start |  |  |  |  | ALERTS
Utility Permission to Operate (PTO)
Obtain Building Department Permit
Obtain Electrical Permit
Close out Building Department Permit
Close out Electrical Permit
Does the utility require an assessment of the system size or location to determine any network upgrade fees?
Has the assessment been performed?
Note on D51: Include make and model of equipment if known.
Note on F51: Manufacturer's guarantee that equipment is free from defects in materials and workmanship.
Note on G51: Power production warranty that equipment will maintain a minimum power output during a given time.
Note on D60: Start of project should be considered as date of installation contract signing.

## Input-RoofMountedSystems
INPUT: Roof-Mounted Systems
Instructions: For roof-mounted systems, enter details of roof assessment and recommended roof replacements. Yellow fields indicate required information. White fields are optional.
ROOF-MOUNTED SYSTEMS (IF APPLICABLE)
Description of roof replacement recommended for solar PV installation if applicable
ALERTS
Does the planned project meet the roofing manufacturer's requirements to maintain the roofing warranty?
| Roof (street address or building identifier) | System size (kW DC) | Roof type | Age of roof (years) | Years left on roof warranty | Roof Condition | Roof replacement recommended | Comments | ALERTS
Additional non-rooftop system size (kW DC):
| Total system size (kW DC): | 0
Note on C12: Information is required for every roof that will have solar panels installed.
Note on H12: Poor: Shows damage, areas that are no longer serviceable, or signs of imminent failure Fair: Shows early signs of wear or areas for minor repair Good: Performing as intended with no areas for repair Excellent: New or like new condition
Note on C33: Size of other non-rooftop arrays (e.g., carport, ground-mounted) included in project, if applicable.

## Input-UpfrontExpenses
INPUT: Upfront Expenses
Instructions: Enter upfront cost information. Yellow fields indicate required information. White fields are optional.
| Expenses and Fees |  |  |  | Comments | ALERTS
| SYSTEM COST |  |  | Upfront Cost ($)
Array cost
Inverter cost
Balance of system (BOS) cost
Hard cost contingency
Labor
Design fees
Project management (includes filing, permitting, expediting, etc.)
| PRE-EXISTING CONDITIONS |  | Will the project require remediation of pre-existing conditions? | Upfront Cost ($)
| No | Roof replacement | No
| 0 | Structural upgrades
| 0 | Upgrades to existing building electrical system
| 0 | Tree removal
| 0 | Parapet wall/safety rail upgrades
| 0 | Asbestos remediation
| 0 | Other pre-existing conditions
| ONE-TIME UTILITY FEES |  | Will the project be subject to one-time utility fees? | Upfront Cost ($)
| 0 | Network upgrade assessment fee
| 0 | Network upgrade costs
| 0 | Other upfront utility fees/costs due to solar
| ONGOING UTILITY FEES |  | Will the project be subject to ongoing utility fees? | Year 1 Cost ($)
| 0 | Monthly fixed charges due to solar
| 0 | Other ongoing fees due to solar
| OPERATION AND MAINTENANCE (O&M) |  | Is there a contract for O&M following installation? | Year 1 Cost ($) |  | ALERTS
O&M
| OTHER YEAR 1 EXPENSES |  |  | Year 1 Cost ($)
Insurance
Operating Reserve (if applicable)
Other
| Total upfront cost |  |  | 0
Note on D34: Funds reserved for costs incurred to enable ongoing operation of the system for projected lifetime.

## Input-Income
INPUT: Income
Instructions: Enter information for energy savings and incentive income and financing conditions. Yellow fields indicate required information. White fields are optional.
SAVINGS FROM ENERGY GENERATION
ALERTS
Will the property be credited by the utility for excess generated electricity (net-metered)?
How will exported or net-metered energy be valued?
Describe how generated power will be used and the resulting cost savings to borrower:
Describe how Time of Use (TOU) or demand charges will affect cost savings, if applicable:
Year 1 Expected Owner and Tenant Consumption and Cost Savings
ALERTS
| Owner-metered electricity offset by system |  | kWh
| Tenant-metered electricity offset by system |  | kWh
Owner-metered electricity cost savings ($)
Tenant-metered electricity cost savings ($)
Does the owner bill back tenants for their electricity consumption (through RUBS, submetering, or flat utility fee)?
If yes, what percentage of the owner electricity cost is expected to be billed back to tenants?
| Owner Cost Savings ($) | 0
| Tenant Cost Savings ($) | 0
AVAILABLE INCENTIVES
Note: No entity may have any right to the equipment and/or output that is senior to the mortgage.
|  | Applicable to Project? | Year 1 Income ($) | ALERTS
Renewable Energy Credits (RECs), e.g. SRECs, ZRECs
Government subsidies or grants
Solar Investment Tax Credit (ITC)
Solar Investment Tax Credit (ITC) Energy Community Adder
Solar Investment Tax Credit (ITC) Domestic Content Adder
Solar Investment Tax Credit (ITC) Low-Income Communities Adder
Modified Accelerated Cost Recovery System (MACRS)
Other tax credits
Any other expected incentives
FINANCING CONDITIONS
Indicate conditions on ITC and other income. (ITC refers to the federal solar Investment tax credit that allows partial deduction of solar energy system installation costs from federal taxes.)
How will ITC be claimed?
When do tax credits begin?
| How long must the system be operating in order to take advantage of full tax credits? |  | months | ALERTS
If the system is removed before the end of this period, will the borrower be liable for repayment of tax credits already claimed?
Are there any grants or subsidies that may need to be repaid or unrealized if certain conditions are not met?
Is the project being funded with any financing or debt other than borrower/sponsor equity?
Will any 3rd party have a right to a lien upon or security interest in any of the facilities?
Note on C10: True net metering: Net metering, 1-for-1 reimbursement Valued net metering: Net metering, exported energy is valued at less than a 1-to-1 rate as determined by the utility Buy-all, sell-all: Total system production and total property consumption credited and billed at different rates
Note on C12: Include information on loads/meters served and whether the cost savings will accrue to owner, tenants, or both.
Note on C37: Solar ITC income is based on a federally mandated step down schedule. The base tax credit value is 30% through 2032. After 2032, the tax credit value will step down. References: https://www.seia.org/initiatives/solar-investment-tax-credit-itc https://programs.dsireusa.org/system/program/detail/658
Note on C38: The ITC Energy Community Adder provides up to an additional 10% tax credit for eligible projects located in energy communities.
Note on C39: The ITC Energy Community Adder provides up to an additional 10% tax credit for eligible projects that meet thresholds for domestic content in manufactured products. Resources: https://www.mcguirewoods.com/client-resources/Alerts/2023/5/domestic-content-bonus-guidance-released-irs-notice-2023-38
Note on C40: The ITC Low-Income Communities Adder provides up to an additional 20% tax credit for eligible projects located in low-income communities. These credits are expected to be competitive. Resources: https://www.mcguirewoods.com/client-resources/Alerts/2023/2/irs-guidance-energy-tax-credits-low-income-communities

## Input-ProForma
INPUT: Financial Pro Forma
Instructions: Enter lifetime cash flow information. Yellow fields indicate required information. White fields are optional.
LIFETIME CASH FLOW
Enter associated annual degradation or increase factors for Year 1 income and expenses. Review and confirm values in subsequent years are modeled as expected. Enter remaining annual income and expenses. (Income and expenses through the lifetime of the project are subject to change and are intended to be illustrative only.)
| Year 1-12 |  | Annual degradation or increase factor (%) | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | ALERTS
Income
| Income (Energy Cost Savings) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Government subsidies/grants |  |  | 0 | - | - | - | - | - | - | - | - | - | - | -
| RECs |  |  | Year 1: 0
Tax credits:
| 0 | Solar Investment Tax Credit (ITC) |  | Year 1: 0
|  | Solar Investment Tax Credit (ITC) Energy Community Adder |  | Year 1: 0
|  | Solar Investment Tax Credit (ITC) Domestic Content Adder |  | Year 1: 0
|  | Solar Investment Tax Credit (ITC) Low-Income Communities Adder |  | Year 1: 0
| 0 | Modified Accelerated Cost Recovery System (MACRS) |  | Year 1: 0; Year 7: -; Year 8: -; Year 9: -; Year 10: -; Year 11: -; Year 12: -
| 0 | Other tax credits |  | Year 1: 0
| Other incentives or income |  |  | Year 1: 0
Expenses
| Upfront system cost |  |  | 0 | - | - | - | - | - | - | - | - | - | - | -
| Pre-existing conditions (cost to remediate) |  |  | 0 | - | - | - | - | - | - | - | - | - | - | -
| One-time utility fees |  |  | 0 | - | - | - | - | - | - | - | - | - | - | -
| Ongoing utility fees |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| O&M costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Insurance |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Operating and replacement reserve |  |  | Year 1: 0
| Other expenses |  |  | Year 1: 0
| Annual cash flow |  | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Year 13-25 |  | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
Income
| Income (Energy Cost Savings) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other income or credits
Expenses
| Ongoing utility fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| O&M costs |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating and replacement reserve
Other expenses
| Annual cash flow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: The tax code is complex. All numbers in this document should be considered illustrative examples only. This information is neither legal nor tax advice. Please consult a taxation specialist. Fannie Mae shall not be responsible for damages.
Note on E9: Degradation factor reduces income year-over-year; increase factor increases expense year-over-year.
Note on E11: Annual degradation or increase factor should include degradation of savings based on panel losses and increase in savings based on utility rate increases.

## DB-Loans (hidden)
PropertyName | SolarConsultant | SiteVisitDate | InitialSubmissionDate | FinalSubmissionDate | ApprovalDate | Lender | ReviewerName | Complete | Version4099I
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | OCT23

## DB-ProjectInformation (hidden)
SolarProjectRecommendation | SolarProjectDescription | DCSystemSize_kW | ACSystemSize_kW | ExpectedAnnualProduction_kWh | TSRF | PanelLocation | InverterLocation | DataMonitoringCapability | BatteryRecommended | BatteryType | OtherBatteryType | BatteryStorageCapacity_kWh | BatteryPowerRating_kW | ExcessGenerationNetMetered | ExportedEnergyValuation | GeneratedPowerUseDescription | TimeOfUseChargesDescription | AnnualOwnerMeteredElectricityOffset_kWh | AnnualTenantMeteredElectricityOffset_kWh | AnnualOwnerCostSavings | AnnualTenantCostSavings | RoofReplacementRecommended | RoofReplacementDescription | ProjectApprovedByRoofManufacturer | NetworkUpgradeAssessmentRequired | NetworkUpgradeAssessmentComplete | TaxCreditClaimedAt | TaxCreditStart | TaxCreditMinimumTimeFrame_months | TaxCreditRepaymentLiability | GrantOrSubsidyRepaymentLiability | OtherFinancingOrDebt | ThirdPartyRightToLien
0 | 0 | 0 | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## DB-SystemComponents (hidden)
SystemComponent | EquipmentDescription | EquipmentUnitCount | UsefulLife_years | EquipmentWarranty_years | PerformanceWarranty_years
Panels | 0 | 0 |  | 0 | 0
Inverters | 0 | 0 |  | 0 | n/a
Racking system | 0 | n/a |  | 0 | n/a
Battery storage | 0 | 0 |  | 0 | n/a

## DB-Roofs (hidden)
Roof | DCSystemSize_kW | RoofType | RoofAge_years | RoofWarrantyRemainingYears_years | RoofCondition | RoofReplacementRecommended | RoofComments

## DB-ProjectMilestones (hidden)
MilestoneDescription | WeeksFromProjectStart
Utility Permission to Operate (PTO) | 0
Obtain Building Department Permit | 0
Obtain Electrical Permit | 0
Close out Building Department Permit
Close out Electrical Permit

## DB-IncomeAndExpenses (hidden)
ExpenseOrIncome | Applicable | ExpenseOrIncomeComments | AnnualDegradationOrIncreaseFactor | Year1 | Year2 | Year3 | Year4 | Year5 | Year6 | Year7 | Year8 | Year9 | Year10 | Year11 | Year12 | Year13 | Year14 | Year15 | Year16 | Year17 | Year18 | Year19 | Year20 | Year21 | Year22 | Year23 | Year24 | Year25
Array cost |  |  |  | Year1: 0
Inverter cost |  |  |  | Year1: 0
Balance of system (BOS) cost |  |  |  | Year1: 0
Hard cost contingency |  |  |  | Year1: 0
Labor |  |  |  | Year1: 0
Design fees |  |  |  | Year1: 0
System cost subtotal |  |  |  | Year1: 0
Roof replacement | No |  |  | Year1: 0
Structural upgrades | 0 |  |  | Year1: 0
Upgrades to existing building electrical system | 0 |  |  | Year1: 0
Tree removal | 0 |  |  | Year1: 0
Parapet wall/safety rail upgrades | 0 |  |  | Year1: 0
Asbestos remediation | 0 |  |  | Year1: 0
Other pre-existing conditions | 0 |  |  | Year1: 0
Pre-existing conditions subtotal |  |  |  | Year1: 0
Network upgrade assessment fee | 0 |  |  | Year1: 0
Network upgrade costs | 0 |  |  | Year1: 0
Other upfront utility fees/costs due to solar | 0 |  |  | Year1: 0
One-time utility fees subtotal |  |  |  | Year1: 0
Monthly fixed charges due to solar | 0 |  |  | Year1: 0
Other ongoing fees due to solar | 0 |  |  | Year1: 0
Ongoing utility fees subtotal |  |  | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M costs | 0 |  | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance |  |  | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating and replacement reserve |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other expenses |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income (Energy Cost Savings) |  |  | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Government subsidies/grants | 0 |  |  | Year1: 0
RECs | 0 |  |  | Year1: 0; Year2: 0; Year3: 0; Year4: 0; Year5: 0; Year6: 0
Solar Investment Tax Credit (ITC) | 0 |  |  | Year1: 0; Year2: 0; Year3: 0; Year4: 0; Year5: 0; Year6: 0
Modified Accelerated Cost Recovery System (MACRS) | 0 |  |  | Year1: 0; Year2: 0; Year3: 0; Year4: 0; Year5: 0; Year6: 0
Other tax credits | 0 |  |  | Year1: 0; Year2: 0; Year3: 0; Year4: 0; Year5: 0; Year6: 0; Year7: 0; Year8: 0; Year9: 0; Year10: 0; Year11: 0; Year12: 0
Tax credits subtotal |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other income or credits | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total annual cash flow |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Dropdowns (hidden)
Panel location | Inverter location | Roof type | Yes/No | ITC Claimed | ITC Beginning | Battery system type | Net metering valuation | Lender List | EWEM Names | Report Score | Report Score Description | Yes/No/Unknown | Data monitoring | Roof Condition | Low-Income Communities Adders | Low-Income Communities Adders Percentages
Roof | Roof | Flat | Yes | Up front | Upon construction | Lithium ion | True net metering | Arbor Commercial Funding I, LLC | Install photovoltaic system | 1 | No further review | Yes | Inverter direct | Poor | Low-Income Community | 10%
Ground mount | Outdoor ground level | Pitched/shingle | No | At end of term | Upon PTO | Lead acid | Valued net metering | Barings Multifamily Capital LLC | Install photovoltaic system with battery storage | 2 | Minor corrections | No | External/third party | Fair | Low-Income Residential Project | 20%
Carport | Indoor ground level/ basement | Other | n/a | Over multiple years of term | n/a | VRLA (valve regulated lead acid) | Buy-all, sell-all | Bellwether Enterprise Mortgage Investments, LLC | Install battery storage | 3 | Substantial issues | Unknown |  | Good | Low-Income Economic Benefit Project | 20%
Wall mount | Other |  |  | n/a |  | Other | n/a | Berkadia Commercial Mortgage LLC | Other |  |  |  |  | Excellent | No
Other | [7 empty] | Capital One, National Association
CBRE Multifamily Capital, Inc.
Cinnaire Corporation
Citi Community Capital
Citibank, N.A.
Community Preservation Corporation
Colliers Mortgage LLC
Dougherty Mortgage, LLC
Grandbridge Real Estate Capital LLC
Greystone Servicing Company, LLC
Hunt Mortgage Capital, LLC
Jones Lang LaSalle Multifamily, LLC.
JPMorgan Chase Bank, NA
KEYBANK NATIONAL ASSOCIATION
M & T Realty Capital Corporation
Massachusetts Housing Partnership
Merchants Capital Corp
Newmark Knight Frank
NorthMarq Capital Finance, L.L.C.
Orix Real Estate Capital, LLC
PNC Bank, National Association
Prudential Multifamily Mortgage, LLC
Regions Bank
Sabal Capital Partners
The Community Development Trust Inc
Truist Bank
Walker & Dunlop, LLC
Wells Fargo Bank, N.A.
Other

## chart (hidden)
chart: |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
completeness check:
| QC Item | complete
| System Details: Solar PV System Details | TRUE
| System Details: Battery Storage System Details | TRUE
| System Components | TRUE
| Permitting and Interconnection | TRUE
| Roof-Mounted Systems | TRUE
| Roof-Mounted Systems (Contractor Approval) | TRUE
| Savings From Energy Generation | TRUE
| Available Incentives | TRUE
| Financing Conditions | TRUE
| Upfront Expenses | TRUE
| Operation and Maintenance | TRUE
| Lifetime Cash Flow (Income) | TRUE
| Lifetime Cash Flow (Expenses) | TRUE
ITC schedule:
| 2019 | 30%
| 2020 | 26%
| 2021 | 26%
| 2022 | 30%
| 2023 | 30%
| 2024 | 30%
| 2025 | 30%
| 2026 | 30%
| 2027 | 30%
| 2028 | 30%
| 2029 | 30%
| 2030 | 30%
| 2031 | 30%
| 2032 | 30%
| 2033 | 26%
| 2034 | 22%
| 2035 | 0%