## Business Glossary
Third-Party Report Standards v2.3.6 - Business Glossary v2.3.6 - Developed in support of the Fannie Mae DUS TISC Data Standardization effort of the following Third-Party Reports: PCA, ESA, Zoning, and SRA.
Updates are highlighted in blue.
199 | Third-Party Report that data points are included in. |  |  |  | Name of data point as often seen on reports. | Standardized name of data point utilized in CSV format. | Camel case version of standard business name utilized in XML format. | States whether the data point is required(R), optional(O) or conditionally required(C). |  |  |  | Definitions and Allowable Values sourced either from existing Data Glossaries (e.g., Fannie Mae Multifamily Business Glossary) or generated in collaboration with DUS Lender and Fannie Mae subject matter experts. |  | Format and length of data point. | Applicable Business Validation Rules.
Required, Optional or Conditional
No. | PCA | ESA | Zoning | SRA | Business Name | Standard Business Name | Technical Data Point Name | PCA | ESA | ZON | SRA | Definition | Allowable Values | Data Type | Business Rules
1 |  |  |  | X | Acceptable Building Stability per ASTM E2026 Standard? | Acceptable Building Stability? | AcceptableBuildingStabilityIndicator |  |  |  | R | A code indicating whether the property meets the current building stability requirements set forth in ASTM E2026 Standard Practice for Probable Maximum Loss (PML) Evaluations for Earthquake Due-Diligence Assessments, as amended from time to time. | Yes No | Text | Pick List from Allowable Values.
2 | X |  |  |  | ADA/FHA compliance issues | ADA/FHA Compliance Issues? | ADAFHAComplianceIssuesIndicator | R |  |  |  | A code indicating whether the property is in compliance with the Americans with Disabilities Act ("ADA") and the Fair Housing Act ("FHA"). | Yes No | Text | Pick List from Allowable Values.
3 |  | X |  |  | Adjacent Land Use East | Adjacent East Land Use | AdjacentEastLandUseDescription |  | O |  |  | If there is any adjacent property concern, a free-form text to capture the description of use of the land East of the subject property. |  | Text | Free-form text, 0 to 100-character long.
4 |  | X |  |  | Adjacent Land Use North | Adjacent North Land Use | AdjacentNorthLandUseDescription |  | O |  |  | If there is any adjacent property concern, a free-form text to capture the description of use of the land North of the subject property. |  | Text | Free-form text, 0 to 100-character long.
5 |  | X |  |  | Any adjacent property concerns? | Adjacent Property Concern? | AdjacentPropertyConcernStatusType |  | R |  |  | A code indicating whether there is any concern with properties adjacent to the subject property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values.
6 |  | X |  |  | Adjacent Land Use South | Adjacent South Land Use | AdjacentSouthLandUseDescription |  | O |  |  | If there is any adjacent property concern, a free-form text to capture the description of use of the land South of the subject property. |  | Text | Free-form text, 0 to 100-character long.
7 |  | X |  |  | Adjacent Land Use West | Adjacent West Land Use | AdjacentWestLandUseDescription |  | O |  |  | If there is any adjacent property concern, a free-form text to capture the description of use of the land West of the subject property. |  | Text | Free-form text, 0 to 100-character long.
8 | X |  |  |  | Are Parcels Contiguous? | Adjoining Parcel? | AdjoiningParcelIndicator | R |  |  |  | For non-single parcels, a code indicating whether the parcels on which the multifamily property is located are contiguous adjoining and comply by the Fannie Mae Multifamily Selling and Servicing Guide. | Yes No | Text | Pick List from Allowable Values.
9 |  |  |  | X | Any Building with PML >20%? | Any building with PML SEL >20 Percent? | AnyBuildingWithPMLSELGreaterThan20PercentIndicator |  |  |  | R | A code indicating whether the Probable Maximum Loss (PML) Scenario Expected Loss (SEL) for any building on the property is greater than 20%. | Yes No | Text | Pick List from Allowable Values.
10 |  |  | X |  | Was special permitting or condition(s) applied to existing zoning? | Any Special Zoning Permitting or Conditions? | AnySpecialZoningPermittingOrConditionsIndicator |  |  | R |  | A code indicating whether there is any special permitting or condition(s) applied to existing zoning for the subject property. | Yes No | Text | Pick List from Allowable Values.
11 | X | X |  |  | Assessor's Parcel Number (APN) | Assessor's Parcel Number | AssessorsParcelNumber | O | O |  |  | A unique number assigned to each parcel of land by a county tax assessor. |  | Text | Free-form text, 0 to 100-character long.
12 |  | X |  |  | Any aboveground or underground storage tanks (ASTs/USTs/LUSTs) of concern? | AST, UST, or LUST Concern? | ASTUSTorLUSTConcernStatusType |  | R |  |  | A code indicating whether there is any Aboveground Storage Tank (AST), Underground Storage Tank (UST), or Leaking Underground Storage Tank (LUST) of concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values.
13 |  |  | X |  | Is a certificate of occupancy available for each building? | Available Certificates of Occupancy? | AvailableCertificatesOfOccupancyIndicator |  |  | R |  | A code indicating whether Certificates of Occupancy are available for each building at the subject property. | Yes No | Text | Pick List from Allowable Values.
14 |  | X |  |  | Any asbestos containing materials (ACMs) of concern? | BER ACM Concern? | BERACMConcernStatusType |  | C |  |  | A code indicating whether there are any Asbestos Containing Materials (ACM) Business Environmental Risks (BER) of concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
15 |  | X |  |  | Any indoor air quality or “vapor intrusion” concern? | BER Air Quality or Vapor Intrusion Concern? | BERAirQualityOrVaporIntrusionConcernStatusType |  | C |  |  | A code indicating whether there is any air quality or vapor intrusion Business Environmental Risks (BER) concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
16 |  | X |  |  | For any Checklist items above rated as anything other than "No, Phase 1 acceptable", provide description of condition(s) | BER Condition Description | BERConditionDescription |  | O |  |  | If there is any Business Environmental Risk (BER), a free-form text to capture the description of environmental condition at the property. |  | Text | Free-form text, 0 to 100-character long.
17 |  | X |  |  | Any Lead based paint (LBP) concern? | BER LBP Concern? | BERLBPConcernStatusType |  | C |  |  | A code indicating whether there is any Lead Based Paint (LBP) Business Environmental Risks (BER) concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
18 |  | X |  |  | Any lead in drinking water concern? | BER Lead in Drinking Water Concern? | BERLeadInDrinkingWaterConcernStatusType |  | C |  |  | A code indicating whether there is lead in drinking water Business Environmental Risks (BER) concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
19 |  | X |  |  | Any mold concern? | BER Mold Concern? | BERMoldConcernStatusType |  | C |  |  | A code indicating whether there is any mold Business Environmental Risks (BER) concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
20 |  | X |  |  | Any Polychlorinated Biphenyls (PCBs) of concern? | BER PCB Concern? | BERPCBConcernStatusType |  | C |  |  | A code indicating whether there are any Polychlorinated Biphenyls (PCB) Business Environmental Risks (BER) of concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
21 |  | X |  |  | Any radon concern? | BER Radon Concern? | BERRadonConcernStatusType |  | C |  |  | A code indicating whether there is any radon Business Environmental Risks (BER) concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values. This is optional if the user selected ASTM E1528 for Third-Party Report Scope Standard.
22 |  |  |  | X | Design-Basis Building Code | Building Code | BuildingCodeDescription |  |  |  | R | A free-form text to capture the description of building codes or sets of regulations governing the design, construction, alteration and maintenance of structures. They specify the minimum requirements to adequately safeguard the health, safety and welfare of building occupants. |  | Text | Free-form text, 1 to 255-character long.
23 | X |  |  |  | Style of Buildings | Building Type | BuildingType | R |  |  |  | A code indicating the type of building for the property securing the loan. | Garden High-Rise Mid-Rise Townhouse Other Single Family Rental | Text | Pick List from Allowable Values.
24 | X |  |  |  | Building Type Description | Building Type Description | BuildingTypeDescription | C |  |  |  | If the value of 'Other' is selected for the code indicating the type of Building, then its description is included. |  | Text | Required if BuildingType is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
25 | X |  |  |  | Capital Item | Capital Item | CapitalItem | C |  |  |  | A code identifying the type of capital items in the property. | Alternative Energy Systems Amenities Cable or Internet Availability Amenities HotTub/Spa Amenities Picnic Areas Amenities Playground Amenities Sport Courts Amenities Swimming Pool Amenities Tennis Courts Amenities Tot Lots Curbs and Gutter Dwelling Units Emergency Generator Fencing Patio Fencing Perimeter Fencing Refuse Area Fencing Swimming Pool Fencing Tennis Court Irrigation Landscaping Parking Area Lighting Parking Pavement Parking Structures Pool/Spa Deck Surface Pool/Spa Plaster/Lining Plumbing Systems and Domestic Hot Water Ramps Seal coat and Striping Sidewalks Signage Site/Building Lighting Storm Drainage Transformers Utilities (sanitary and storm sewers, water, gas and electric lines/mains) Water Features Water Wells Amenities Handrails Balconies, Stairs and Upper Level Walkways Cladding Exterior Doors and Frames Exterior Walls, Siding, Paint Foundations Roof Coverings Roof Drainage Roof Systems Structural System Framing Windows and Frames Air Conditioning Equipment Building Management Systems Domestic Water Supply Lines And Distribution Electrical Systems Gas Distribution System Heating Equipment Lift Stations Pool Pump and Filtration Equipment Pool/Spa Filtration Equipment Pool/Spa Heating Equipment Waste Service Lines Waste Water Treatment System Water Heaters Elevators Exterior Steps Carbon Monoxide Detectors (if required) Fire Alarms Fire Suppression Security Alarms Wet Sprinklers In Common Area Wet Sprinklers Inside The Units Dry Sprinklers In Common Area Dry Sprinklers Inside The Units Barbecue Bathroom Cabinetry/Vanity Cable or Internet Availability Common Area Amenities Common Area FF&E Common Area Finishes Doors and Windows Handrails Overall Unit Interiors Kitchen Appliances Kitchen Cabinetry and Countertops Unit Cabinetry Vanity Unit Finishes Unit Washer/Dryer Unit Refrigerator Unit Range/Oven Unit Microwave Oven Unit Dishwasher Unit Washing Machine Unit Clothes Dryer | Text | Pick List from Allowable Values. Required if PCADataRecordType is 'C', otherwise Optional.
26 | X |  |  |  | Capital Item Action | Capital Item Action | CapitalItemAction | R |  |  |  | A code indicating whether an action is recommended on each capital item identified. | IM - Immediate Repair INV - Investigation is Recommended RR - Replacement Reserves R&M - Repair & Maintenance NA - Not Applicable No | Text | Pick List from Allowable Values.
27 | X |  |  |  | Capital Item Annual Inflation Rate | Capital Item Annual Inflation Rate | CapitalItemAnnualInflationRate | O |  |  |  | The inflation rate applied to capital item calculation in the Property Condition Assessment Report. Its default value is 3.00 but can be entered by user. |  | Decimal | Default value is 3.00 if not entered. It should be equal to 3.00, with 2 decimals if entered.
28 | X |  |  |  | Capital Item Category | Capital Item Category | CapitalItemCategory | C |  |  |  | A code identifying the category of capital items in the property. | Site Components Structural Frame and Building Envelope (Architectural Components) Mechanical, Electrical and Plumbing Systems Vertical Transportation, Including Elevators and Stairs Life Safety and Fire Protection Interior Elements (Dwelling Units and Common Areas) | Text | Pick List from Allowable Values. Required if PCADataRecordType is 'C', otherwise Optional.
29 | X |  |  |  | Capital Item Effective Age | Capital Item Effective Age | CapitalItemEffectiveAge | O |  |  |  | The range of years representing the effective age of a capital item. |  | Text | May be entered if PCADataRecordType is 'C'. Free-form text, 0 to 100-character long if entered.
30 | X |  |  |  | Capital Item Remaining Useful Life | Capital Item Remaining Useful Life | CapitalItemRemainingUsefulLife | O |  |  |  | The range of years representing the balance of useful life of a capital item. |  | Text | May be entered if PCADataRecordType is 'C'. Free-form text, 0 to 100-character long if entered.
31 | X |  |  |  | Capital Item Total Cost over Eval. Period | Capital Item Total Cost Over Evaluation Period | CapitalItemTotalCostOverEvaluationPeriod | C |  |  |  | The dollar amount as present value needed for the same capital item. |  | Dollar | May be entered if PCADataRecordType is 'C'. It should be zero or greater than zero if entered.
32 | X |  |  |  | Capital Item Total Inflated at Annual Inflation Rate | Capital Item Total Inflated at Annual Inflation Rate | CapitalItemTotalInflatedAtAnnualInflationRate | C |  |  |  | The dollar amount adjusted by inflation needed for the replacement of all capital items in total. |  | Dollar | May be entered if PCADataRecordType is 'C'. It should be zero or greater than zero if entered.
33 | X |  |  |  | Capital Item Total Uninflated | Capital Item Total Uninflated | CapitalItemTotalUninflated | C |  |  |  | The dollar amount as present value needed for the replacement of all capital items in total. |  | Dollar | May be entered if PCADataRecordType is 'C'; otherwise Optional. It should be zero or greater than zero if entered.
34 | X |  |  |  | Capital Item Year 1 | Capital Item Year 1 | CapitalItemYear1 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 1. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
35 | X |  |  |  | Capital Item Year 10 | Capital Item Year 10 | CapitalItemYear10 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 10. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
36 | X |  |  |  | Capital Item Year 11 | Capital Item Year 11 | CapitalItemYear11 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 11. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
37 | X |  |  |  | Capital Item Year 12 | Capital Item Year 12 | CapitalItemYear12 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 12. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
38 | X |  |  |  | Capital Item Year 13 | Capital Item Year 13 | CapitalItemYear13 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 13. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
39 | X |  |  |  | Capital Item Year 14 | Capital Item Year 14 | CapitalItemYear14 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 14. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
40 | X |  |  |  | Capital Item Year 15 | Capital Item Year 15 | CapitalItemYear15 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 15. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
41 | X |  |  |  | Capital Item Year 2 | Capital Item Year 2 | CapitalItemYear2 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 2. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
42 | X |  |  |  | Capital Item Year 3 | Capital Item Year 3 | CapitalItemYear3 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 3. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
43 | X |  |  |  | Capital Item Year 4 | Capital Item Year 4 | CapitalItemYear4 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 4. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
44 | X |  |  |  | Capital Item Year 5 | Capital Item Year 5 | CapitalItemYear5 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 5. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
45 | X |  |  |  | Capital Item Year 6 | Capital Item Year 6 | CapitalItemYear6 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 6. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
46 | X |  |  |  | Capital Item Year 7 | Capital Item Year 7 | CapitalItemYear7 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 7. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
47 | X |  |  |  | Capital Item Year 8 | Capital Item Year 8 | CapitalItemYear8 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 8. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
48 | X |  |  |  | Capital Item Year 9 | Capital Item Year 9 | CapitalItemYear9 | O |  |  |  | The dollar amount as present value needed for the same capital item forecasted for year 9. |  | Dollar | Number with up to 2 decimals, zero or greater than zero if entered.
49 | X |  |  |  | Catastrophic Event Prone Indicator | Catastrophic Event Prone? | CatastrophicEventProneIndicator | R |  |  |  | A code indicating whether the property is located in an area prone to catastrophic events. | Yes No | Text | Pick List from Allowable Values.
50 | X | X | X | X | City | City | City | R | R | R | R | The name of the city where the property or properties which serve as mortgage collateral are located. |  | Text | Free-form text, 1 to 100-character long.
51 | X | X | X | X | Fannie Mae Collateral Reference Number | Collateral Reference Number | CollateralReferenceNumber | O | O | O | O | A unique number assigned by Fannie Mae to identify the collateral, referenced by its Deal Identifier. For a regular flow deal, there is one Collateral to one Deal. However, there may be more than one Collateral for a Structured Deal. |  | Text | 10-character long for flow deals, 14-character long for structured deals, including leading zeroes.
52 | X |  |  |  | Modules Completed Indicator - Residential / Commercial Mix | Commercial/Retail Use Module Completed? | CommercialOrRetailUseModuleCompletedIndicator | O |  |  |  | For any Property with any commercial use, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
53 | X |  |  |  | Do buildings have interior common stairways or hallways? | Common Stairways or Hallways? | CommonStairwaysOrHallwaysIndicator | R |  |  |  | A code indicating whether buildings in the property have interior common stairways or hallways. | Yes No | Text | Pick List from Allowable Values.
54 |  |  | X |  | Conformance Status | Concluding Zoning Conformance Status | ConcludingZoningConformanceStatus |  |  | R |  | A code indicating the conformance status of the subject property with all legal zoning requirements. | Legal Conforming Legal Nonconforming Nonconforming | Text | Pick List from Allowable Values.
55 |  | X |  |  | Is the source of contamination off-site or on-site? | Contamination Source | ContaminationSource |  | O |  |  | If there is a REC, CREC, HREC, or non-REC issue, a code identifying the source of contamination. | Onsite Offsite | Text | Pick List from Allowable Values.
56 |  | X |  |  | Controlled Recognized Environmental Condition (CREC) | Controlled Recognized Environmental Condition (CREC) | ControlledRecognizedEnvironmentalConditionDescription |  | O |  |  | A free-form text to capture the Controlled Recognized Environmental Condition (CREC) as in the past release of any hazardous substances or petroleum products that has occurred in connection with the property and has been addressed to the satisfaction of the applicable regulatory authority or meeting unrestricted use criteria established by a regulatory authority, subjecting the property to the implementation of required controls. |  | Text | Free-form text, 0 to 100-character long.
57 | X |  |  |  | Modules Completed Indicator - Cooperative Property | Cooperative Property Module Completed? | CooperativePropertyModuleCompletedIndicator | O |  |  |  | For any Cooperative Property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
58 | X |  |  |  | Do buildings have covered common breezeways? | Covered Common Breezeways? | CoveredCommonBreezewaysIndicator | R |  |  |  | A code indicating whether buildings in the property have covered common breezeways. | Yes No | Text | Pick List from Allowable Values.
59 |  | X |  |  | Are controls of the CREC Institutional or Engineering? | CREC Control Type | CRECControlType |  | O |  |  | A code indicating the type of control implemented to address the Controlled Recognized Environmental Condition (CREC). | Institutional Engineering | Text | Pick List from Allowable Values.
60 |  | X |  |  | In the Environmental Professional Opinion does the CREC pose a health or safety risk to the occupants or an environmental risk? | CREC Risk? | CRECRiskIndicator |  | C |  |  | In the environmental professional opinion, a code indicating whether the Controlled Recognized Environmental Condition (CREC) pose a health or safety risk to the occupants or an environmental risk. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
61 |  | X |  |  | Database Review Justification Type | Database Review Justification Type | DatabaseReviewJustificationType |  | C |  |  | A code indicating the type of loan for which the Environmental Site Assessment report is being submitted. This optional element is applicable only if the Third Party Report Scope Standard is set to 'Database Review'. | Choice Refinance Loan Supplemental Mortgage Loan | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. When Required, use Pick List from Allowable Values.
62 | X | X | X | X | Fannie Mae Deal Identifier | Deal Identifier | DealIdentifier | R | R | R | R | A unique number assigned by Fannie Mae systems to the Deal record. |  | Text | Numeric, 5 or 6-digit long.
63 |  | X |  |  | Overall Conclusion regarding DUS Compliance | DUS Compliance Conclusion | DUSComplianceConclusion |  | R |  |  | A code indicating the overall conclusion regarding DUS compliance. | Acceptable Database Review Acceptable Environmental Screening Acceptable Environmental Screening with O&M Plan Acceptable Phase I Acceptable Phase I with O&M Plan Acceptable Phase I with Additional Action Recommended Phase II Completed Not Program Eligible | Text | Pick List from Allowable Values. Valid selection of allowed values from Pick List depends on the value selected for ThirdPartyReportScopeStandard
64 | X | X | X | X | Name of DUS Lender | DUS Lender Name | DUSLenderName | R | R | R | R | The name of the lender organization that has been given priority status by Fannie Mae. |  | Text | Free-form text, 1 to 100-character long.
65 | X |  |  |  | Energy Compliance and Reporting Indicator | Energy Compliance and Reporting? | EnergyComplianceAndReportingIndicator | R |  |  |  | A code indicating whether the property is in compliance with federal, state, or local retro-commissioning, energy audit and reporting, or other energy-related compliance requirements. | Yes No | Text | Pick List from Allowable Values.
66 |  | X |  |  | Has the regulatory authority issued any guidance (such as a No Further Action Letter)? | Environmental Guidance Issued by Regulatory Authority? | EnvironmentalGuidanceIssuedByRegulatoryAuthorityIndicator |  | C |  |  | A code indicating whether the regulatory authority has issued any guidance. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
67 |  | X |  |  | Environmental Database Review Date | Environmental Database Review Date | EnvironmentalDatabaseReviewDate |  | C |  |  | The date on which the Environmental Database Review is conducted. This is an optional element for the ESA but is required when Third Party Report Scope Standard is set to 'Database Review'. |  | Date | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. When Required, use Format: MM/DD/YYYY.
68 |  | X |  |  | Phase I Site Assessment Date | Environmental Phase I Site Assessment Date | EnvironmentalPhaseISiteAssessmentDate |  | C |  |  | The date on which the site visit for the Phase I Environmental Site Assessment is conducted. |  | Date | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Format: MM/DD/YYYY.
69 |  | X |  |  | Date of Phase II | Environmental Phase II Site Assessment Date | EnvironmentalPhaseIISiteAssessmentDate |  | C |  |  | The date on which the site visit for the Phase II Environmental Assessment is conducted. This date is required if EnvironmentalPhaseIISiteAssessmentRequiredIndicator is set to 'Yes'. |  | Date | Required if, EnvironmentalPhaseIISiteAssessmentRequiredIndicator is set to 'Yes', otherwise Optional. Format: MM/DD/YYYY if entered.
70 |  | X |  |  | Was Phase II required? | Environmental Phase II Site Assessment Required? | EnvironmentalPhaseIISiteAssessmentRequiredIndicator |  | C |  |  | A code indicating whether a Phase II Environmental Site Assessment was recommended. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
71 |  | X |  |  | Was Phase I recommended? | Environmental Phase I Site Assessment Recommended? | EnvironmentalPhaseISiteAssessmentRecommendedIndicator |  | C |  |  | A code indicating whether a Phase I Environmental Site Assessment was recommended. | Yes No | Text | Required if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Optional. If Required, use Pick List from Allowable Values. Usually the value of 'No' is selected while filing the Environmental Screening Report.
72 |  | X |  |  | Date of Environmental Screening | Environmental Screening Site Assessment Date | EnvironmentalScreeningSiteAssessmentDate |  | C |  |  | The date on which the site visit for the Environmental Screening is conducted. This date is required if ASTM E1528 is selected for ThirdPartyReportScopeStandard. |  | Date | Required if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Optional. If Required, use Format: MM/DD/YYYY.
73 |  | X |  |  | Does the state jurisdiction have an environmental super lien law? | Environmental Super Lien Law Exists? | EnvironmentalSuperLienLawExistsIndicator |  | C |  |  | A code indicating whether the state jurisdiction where the property is located has an environmental super lien law. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
74 |  |  | X |  | Is existing building coverage in conformance | Existing Building Density Coverage Conformance? | ExistingBuildingDensityCoverageConformanceIndicator |  |  | R |  | A code indicating whether the existing building density coverage is in conformance with zoning requirements, typically not exceeding the maximum density limits. | Yes No | Text | Pick List from Allowable Values.
75 |  |  | X |  | Is Existing building in conformance with set-backs? | Existing Building Set-Back Lines Conformance? | ExistingBuildingSetBackLinesConformanceIndicator |  |  | R |  | A code indicating whether the existing building set-back lines are in conformance with zoning requirements. | Yes No | Text | Pick List from Allowable Values.
76 |  |  | X |  | Is existing building in conformance with size limits? | Existing Building Size Conformance? | ExistingBuildingSizeConformanceIndicator |  |  | R |  | A code indicating whether the existing building size is in conformance with zoning requirements. | Yes No | Text | Pick List from Allowable Values.
77 |  |  | X |  | Is Existing Use in Conformance? | Existing Land Use Conformance? | ExistingLandUseConformanceIndicator |  |  | R |  | A code indicating whether the existing land use is in conformance with zoning requirements as stated by the municipality. | Yes No | Text | Pick List from Allowable Values.
78 |  |  | X |  | Is existing parking in conformance? | Existing Parking Conformance? | ExistingParkingConformanceIndicator |  |  | R |  | A code indicating whether the number of existing parking spaces is equal or greater than the number of required parking spaces. | Yes No | Text | Pick List from Allowable Values.
79 |  |  |  | X | Form 4099.C Completed? | Form 4099.C Completed? | Form4099CCompletedIndicator |  |  |  | R | A code indicating whether the Form 4099.C had been prepared for the property undergoing Seismic Risk Assessment. | Yes No | Text | Pick List from Allowable Values.
80 |  | X |  |  | If answer to adjacent property concerns is anything other than "No, Phase 1 acceptable", then indicate depth of groundwater in the vicinity of the subject property | Groundwater Depth | GroundwaterDepth |  | O |  |  | If there is any adjacent property concern, the value in feet representing the depth of groundwater in the vicinity of the subject property. |  | Decimal | Number with up to 2 decimals, greater than zero if entered.
81 |  | X |  |  | If answer to adjacent property concerns is anything other than "No", then indicate direction of groundwater in the vicinity of the subject property | Groundwater Direction | GroundwaterDirection |  | O |  |  | If there is any adjacent property concern, a code indicating direction of groundwater in the vicinity of the subject property. | N - North NE - North East E - East SE - South East S - South SW - South West W - West NW - North West | Text | Pick List from Allowable Values.
82 |  | X |  |  | Any hazardous substances or petroleum products of concern? | Hazardous Substances or Petroleum Products Concern? | HazardousSubstancesOrPetroleumProductsConcernStatusType |  | R |  |  | A code indicating whether there are any hazardous substances or petroleum products of concern at the property. | No Yes, with O&M Plan Yes, with Additional Action Recommended Yes, Not Program Eligible | Text | Pick List from Allowable Values.
83 |  | X |  |  | Describe historical uses of the property | Historical Property Use | HistoricalPropertyUseDescription |  | O |  |  | If there is a REC, CREC, HREC, or non-REC issue, a free-form text to capture the historical use of the property. |  | Text | Free-form text, 0 to 100-character long.
84 |  | X |  |  | Historical Recognized Environmental Condition (HREC) | Historical Recognized Environmental Condition (HREC) | HistoricalRecognizedEnvironmentalConditionDescription |  | O |  |  | A free-form text to capture the Historical Recognized Environmental Condition (HREC) as in the past release of any hazardous substances or petroleum products that has occurred in connection with the property and has been addressed to the satisfaction of the applicable regulatory authority or meeting unrestricted use criteria established by a regulatory authority, without subjecting the property to any required controls. |  | Text | Free-form text, 0 to 100-character long.
85 | X |  |  |  | Modules Completed Indicator - High Performance Building (HPB) Evaluation | HPB Module or Report Completed? | HPBModuleOrReportCompletedIndicator | O |  |  |  | For any Property securing a Green Rewards Mortgage Loan, Green Preservation Plus Mortgage Loan, or other Mortgage Loan of a product type or secured by an Asset Class as specifically required by Fannie Mae from time to time, a code indicating the completion of the High Performance Building (HPB) Property Condition Assessment Module or Report. | Yes No | Text | Pick List from Allowable Values.
86 |  | X |  |  | In the Environmental Professional Opinion does the HREC pose a health or safety risk to the occupants or an environmental risk? | HREC Risk? | HRECRiskIndicator |  | C |  |  | In the environmental professional opinion, a code indicating whether the Historical Recognized Environmental Condition (HREC) pose a health or safety risk to the occupants or an environmental risk. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
87 | X |  |  |  | Immediate Repair Item Category | Immediate Repair Category | ImmediateRepairCategory | C |  |  |  | A code identifying the category of immediate repair needed in the property. | Life Safety Repairs Critical Repairs Deferred Maintenance Items of Note Short Term Replacement of Capital Items | Text | Pick List from Allowable Values. Required if PCADataRecordType is 'I'; otherwise Optional.
88 | X |  |  |  | Immediate Repair Cost | Immediate Repair Cost | ImmediateRepairCost | C |  |  |  | The dollar amount needed for the same immediate repair item. |  | Dollar | Required if PCADataRecordType is 'I'; otherwise Optional. It should be zero or greater than zero; for Streamlined PCA, Items of Note, if any, should be $1,000.00 or less per item.
89 | X |  |  |  | Immediate Repair Item | Immediate Repair Item | ImmediateRepairItemDescription | C |  |  |  | A free-form text to capture the complete description of immediate repair needed in the property to include quantities and cost per unit. |  | Text | Required if PCADataRecordType is 'I'; otherwise Optional. If entered, free-form text, 1 to 1000-character long.
90 | X |  |  |  | Immediate Repair Quantity | Immediate Repair Quantity | ImmediateRepairQuantity | O |  |  |  | An integer to capture the number of Immediate Repair Item |  | Integer | Optional data point; If entered, should be Whole number, zero or greater than zero, range from 0 to 9999.
91 | X |  |  |  | Immediate Repair Unit Of Measure | Immediate Repair Unit Of Measure | ImmediateRepairUnitOfMeasure | O |  |  |  | The Unit of Measure for the Immediate Repair Item | ALLOW Allowance CF cubic foot EA each LB pound LF linear foot MD Man Day (Labor cost per person per day) SF square foot SY square yard UNIT unit YD yard | Text | Optional data point; If entered, Pick List from the allowed values
92 | X |  |  |  | Immediate Repair Unit Cost | Immediate Repair Unit Cost | ImmediateRepairUnitCost | O |  |  |  | Unit Cost of the Immediate Repair Item, in dollars and cents |  | Dollar | Optional data point; If entered, should be dollars and cents. If Immediate Repair Quantity and Immediate Repair Unit Cost are entered, Immediate Repair Unit Cost is calculated by multiplying them.
93 | X |  |  |  | Modules Completed Indicator - Integrated Pest Management Plan | IPMP Module Completed? | IPMPModuleCompletedIndicator | O |  |  |  | For any Property with observed or detected pests, a code indicating the completion of the Integrated Pest Management Plan (IPMP) Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
94 | X | X | X | X | Jurisdiction | Jurisdiction | Jurisdiction | R | R | R | R | Free form text describing one or more names of the local authorities that govern the property. |  | Text | Free-form text, 1 to 100-character long.
95 | X |  |  |  | Known Problematic Building Materials Identified | Known Problematic Building Materials (KPBM) | KnownProblematicBuildingMaterials | C |  |  |  | A code identifying the types of Known Problematic Building Materials (KPBM) utilized in the construction of the property. If KPBMActionRecommendedIndicator is set to 'Yes', then at least one of the KPBM Indicators should be set to 'Yes'. | Aluminum Branch Wiring Compressed Wood or Composite Board Siding Electrical Overload Protection - Fused Subpanels Exterior Insulation and Finishing (EIFS) Federal Pacific Electric Stab-Lok panels Fire Retardant Treated Plywood (FRTP) Galvanized Steel Water Distribution Lines Ground Fault Circuit Interrupter (GFCI) in wet / exterior locations Microbial Growth Other Polybutylene Water Distribution Lines Recalled Cadet Brand Electric in-Wall Heaters Problem Drywall Recalled fire sprinkler heads (Central, Omega, Gem, Star) Recalled General Electric / Hotpoint dishwashers Unit electrical capacity less than 60 amps Wood Destroying Organisms Lack Of GFCI In Wet Locations Lack Of GFCI In Exterior Locations | Text | Pick List from Allowable Values. If KPBMActionRecommendedIndicator is set to 'Yes', at least one of the KPBM Indicators should be set to 'Yes'.
96 | X |  |  |  | Known Problematic Building Materials Action Recommended | KPBM Action Recommended? | KPBMActionRecommendedIndicator | R |  |  |  | A code indicating whether an action is recommended on each Known Problematic Building Material (KPBM) identified. | Yes No | Text | Pick List from Allowable Values.
97 | X |  |  |  | KPBM Other Description | KPBM Other Description | OtherDescription | C |  |  |  | If the value of 'Other' is selected for the code indicating the type of Known Problematic Building Materials, then its description is included. |  | Text | Required if (KPBM) OtherIndicator is 'Y', otherwise Optional. Free-form text, 1 to 100-character long if entered.
98 |  |  |  | X | Landslide | Landslide Potential | LandslidePotential |  |  |  | R | A code indicating the risk of damage of a property due to the relative likelihood of future landsliding based solely on the intrinsic properties of a locale or site. | None Low Medium High Very High | Text | Pick List from Allowable Values.
99 |  |  |  | X | Liquefaction | Liquefaction Potential | LiquefactionPotential |  |  |  | R | A code indicating the risk of damage of a property due to ground failure or loss of strength that causes otherwise solid soil to behave temporarily as a viscous liquid. | None Low Medium High Very High | Text | Pick List from Allowable Values.
100 |  |  |  | X | Mandatory Retrofit Ordinance | Mandatory Retrofit Ordinance? | MandatoryRetrofitOrdinanceIndicator |  |  |  | O | A code indicating whether the property has ever had mandatory seismic retrofit upgrades and ordinances. | Yes No | Text | Pick List from Allowable Values.
101 |  |  |  | X | Mandatory Retrofit Overview | Mandatory Seismic Retrofit Overview | MandatorySeismicRetrofitOverviewDescription |  |  |  | O | A free-form text to capture the description of mandatory seismic retrofit upgrades and ordinances. |  | Text | Free-form text, 0 to 100-character long.
102 | X |  |  |  | Modules Completed Indicator - Manufactured Housing | Manufactured Housing Module Completed? | ManufacturedHousingModuleCompletedIndicator | O |  |  |  | For any Manufactured Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
103 |  |  |  | X | Modified Mercalli Intensity (MMI) | Modified Mercalli Intensity | ModifiedMercalliIntensity |  |  |  | R | A code indicating the level of effect of an earthquake on the Earth's surface based on the Modified Mercalli Intensity (MMI). | I II III IV V VI VII VIII IX X XI XII | Text | Pick List from Allowable Values.
104 | X |  |  |  | Moisture or Microbial Growth Indicator | Moisture or Microbial Growth Present? | MoistureOrMicrobialGrowthPresentIndicator | R |  |  |  | A code indicating the presence of moisture or microbial growth observed or detected at the Property. | Yes No | Text | Pick List from Allowable Values.
105 | X |  |  | X | Construction Type Multifamily Buildings | Multifamily Building Construction Type | MultifamilyBuildingConstructionType | R |  |  | R | A code indicating the construction type for multifamily apartment buildings on the property. | Concrete Frame (Cast-in-place) Concrete Frame (Pre-cast) Other Reinforced Masonry Steel Frame Unreinforced Masonry Wood Frame | Text | Pick List from Allowable Values.
106 | X |  |  | X | Multifamily Building Construction Type Description | Multifamily Building Construction Type Description | MultifamilyBuildingConstructionTypeDescription | C |  |  | C | If the value of 'Other' is selected for the code indicating the type of Multifamily Building Construction, then its description is included. |  | Text | Required if MultifamilyBuildingConstructionType is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
107 |  |  |  | X | PML SEL-475 Multifamily Buildings | Multifamily Building PML SEL-475 | MultifamilyBuildingPMLSEL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Expected Loss (SEL) for multifamily apartment buildings on the property based on a 50% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
108 |  |  |  | X | PML SUL-475 Multifamily Buildings | Multifamily Building PML SUL-475 | MultifamilyBuildingPMLSUL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Upper Loss (SUL) for multifamily apartment buildings on the property based on a 10% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
109 |  |  |  | X | If No, which factors? | Non-Acceptable Building Stability Factors | NonAcceptableBuildingStabilityFactorsDescription |  |  |  | O | A free-form text to capture the description of factors that precluded the property from meeting current acceptable building stability requirements set forth in ASTM E2026 Standard Practice for Probable Maximum Loss (PML) Evaluations for Earthquake Due-Diligence Assessments, as amended from time to time. |  | Text | Free-form text, 0 to 100-character long.
110 |  | X |  |  | Other Environmental Issues not qualifying as REC | Non-REC Issue | NonRECIssueDescription |  | O |  |  | A free-form text to capture the environmental issue as in environmental concerns identified by the environmental professional, which do not qualify as RECs; however, warrant further discussion. |  | Text | Free-form text, 0 to 100-character long.
111 |  | X |  |  | No. of ASTs. | Number of ASTs | NumberofASTs |  | O |  |  | The number of Aboveground Storage Tanks (AST) at the property. |  | Integer | Whole number, zero or greater than zero.
112 | X |  |  |  | Total # of beds (student housing only) | Number of Beds | NumberofBeds | O |  |  |  | The total number of beds at the student housing type property. |  | Integer | Whole number, zero or greater than zero if entered.
113 | X |  |  |  | Down Units on Date of Inspection | Number of Down Units | NumberOfDownUnits | R |  |  |  | The number of rental units not available more than 72 hours due to remodeling or obsolescence for the property as of the Property Condition Assessment date. |  | Integer | Whole number, zero or greater than zero.
114 | X |  | X |  | Total Parking Spaces OR Existing number of parking spaces | Number of Existing Parking Spaces | NumberOfExistingParkingSpaces | R |  | R |  | The total number of parking spaces in all phases of the property securing the mortgage loan. |  | Integer | Whole number, zero or greater than zero, range from 0 to 9999.
115 | X |  |  |  | Total Handicap Accessible Parking Spaces | Number of Handicap Accessible Parking Spaces | NumberOfHandicapAccessibleParkingSpaces | R |  |  |  | The total number of handicap accessible parking spaces in all phases of the property securing the mortgage loan. |  | Integer | Whole number, zero or greater than zero, range from 0 to 9999.
116 |  | X |  |  | No. of Leaking underground storage tanks (LUSTs) | Number of LUSTs | NumberOfLUSTs |  | O |  |  | The number of Leaking Underground Storage Tanks (LUST) at the property. |  | Integer | Whole number, zero or greater than zero.
117 | X |  |  | X | Total # of apartment buildings OR Number of Buildings | Number of Multifamily Buildings | NumberOfMultifamilyBuildings | R |  |  | R | The total number of buildings within the property securing the mortgage loan. If the property is a manufactured housing community, the number of buildings is "0". |  | Integer | Whole number, zero or greater than zero, range from 0 to 999.
118 | X |  |  | X | Total of Other Buildings | Number of Other Buildings | NumberOfOtherBuildings | R |  |  | O | The total number of non-multifamily apartment buildings within the property securing the mortgage loan. |  | Integer | Whole number, zero or greater than zero, range from 0 to 999.
119 | X | X |  |  | No. of Parcels | Number of Parcels | NumberOfParcels | R | R |  |  | The number of plots of land on which the multifamily property is located. |  | Integer | Whole number, greater than zero.
120 |  |  | X |  | Number of Parking Spaces Required | Number of Required Parking Spaces | NumberOfRequiredParkingSpaces |  |  | R |  | The total number of required parking spaces in all phases of the property securing the mortgage loan per zoning requirements. |  | Integer | Whole number, zero or greater than zero, range from 0 to 9999.
121 | X |  |  | X | No. of Stories (if multiple provide each) OR Number of Stories | Number of Stories | NumberOfStoriesDescription | R |  |  | R | A free-form text to capture the number of stories for every building on the property serving as mortgage collateral. |  | Text | Free-form text, 1 to 100-character long.
122 | X |  |  |  | Total # of dwelling units | Number of Units | NumberofUnits | R |  |  |  | The total number of residential units in all phases of the property securing the mortgage loan. |  | Integer | Whole number, greater than zero.
123 | X |  |  |  | No. of Units Inspected | Number of Units Inspected | NumberOfUnitsInspected | R |  |  |  | The number of units inspected on the date of the Property Condition Assessment by the PCA consultant. |  | Integer | Whole number, greater than zero.
124 |  | X |  |  | No. of USTs | Number of USTs | NumberOfUSTs |  | O |  |  | The number of Underground Storage Tanks (UST) at the property. |  | Integer | Whole number, zero or greater than zero.
125 |  | X |  |  | How long has the property been owned by current Property Owner? | Number of Years of Property Ownership | NumberOfYearsOfPropertyOwnership |  | R |  |  | The number of years the property has been owned as of the Date of Third-Party Report. |  | Decimal | Number with up to 1 decimal, zero or greater than zero.
126 |  | X |  |  | Are there are any Orphan Listings of concern? | Orphan Listings | OrphanListingsDescription |  | C |  |  | If there are any orphan listings of concern, a free-form text to capture the description of a site that could not be accurately mapped or geocoded due to inadequate location information. |  | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. If Required, Free-form text, 0 to 100-character long.
127 |  |  |  | X | Construction Type Other Buildings | Other Building Construction Type | OtherBuildingConstructionType |  |  |  | R | A code indicating the construction type for buildings other than multifamily apartment buildings on the property. | Concrete Frame (Cast-in-place) Concrete Frame (Pre-cast) Other Reinforced Masonry Steel Frame Unreinforced Masonry Wood Frame | Text | Pick List from Allowable Values.
128 |  |  |  | X | Other Building Construction Type Description | Other Building Construction Type Description | OtherBuildingConstructionTypeDescription |  |  |  | C | If the value of 'Other' is selected for the code indicating the type of Other Building Construction, then its description is included. |  | Text | Required if OtherBuildingConstructionType is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
129 |  |  |  | X | PML SEL-475 Other Buildings | Other Building PML SEL-475 | OtherBuildingPMLSEL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Expected Loss (SEL) for buildings other than multifamily apartment buildings on the property based on a 50% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
130 |  |  |  | X | PML SUL-475 Other Buildings | Other Building PML SUL-475 | OtherBuildingPMLSUL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Upper Loss (SUL) for buildings other than multifamily apartment buildings on the property based on a 10% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
131 | X |  |  |  | Parking Ratio | Parking Ratio | ParkingRatio | R |  |  |  | The ratio of the total number of parking spaces including handicap accessible parking spaces to the total number of dwelling units in all phases of the property securing the mortgage loan. |  | Decimal | Number with up to 2 decimals, range from 0.00 to 10.00. Enter the ratio in decimals (e.g., if ratio is 0.63, enter 0.63).
132 | X |  |  |  | PCA Data Record Type | PCA Data Record Type | PCADataRecordType | R |  |  |  | A code indicating the record type in the PCA data in CSV format to be received by Fannie Mae. This code is purely for technical purposes while processing the incoming PCA data. | M - Main I - Immediate Repairs C - Capital Item | Text | The code M is for the main record; the codes I and C are for the child record and only one of I and C is used in each child record.
133 | X | X |  |  | Percent of Units Inspected OR Specify percentage of units accessed at property | Percent of Units Inspected | PercentOfUnitsInspected | O | O |  |  | The percentage of number of units inspected on the date of the Property Condition Assessment or Environmental Site Assessment by the PCA consultant or the ESA consultant, respectively. |  | Decimal | This is an optional data point; however, if entered, it should be "Number with up to 2 decimals. For PCA, it should be greater than zero, range from 1.00 to 100.00. For ESA it should be zero or greater than zero range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 1.25%, enter 1.25) Enter value preceding the percent sign (e.g., if value is 1.25%, enter 1.25).
134 | X |  |  |  | Pest Indicator | Pest Present? | PestPresentIndicator | R |  |  |  | A code indicating the presence of pests observed or detected at the Property. | Yes No | Text | Pick List from Allowable Values.
135 |  |  |  | X | What is the Peak Ground Acceleration (PGA) for the property? 475-year (10% in 50-year) PGA | PGA as Percent of Gravity | PGAasPercentOfGravity |  |  |  | R | The percentage of the acceleration of gravity (g), indicating Peak Ground Acceleration (PGA), based on a 10% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 4 decimals, zero or greater than zero, range from 0.0000 to 1.0000. Enter value preceding the gravity g (e.g., if value is 0.1234g, enter 0.1234).
136 |  | X |  |  | Has the Phase I been updated to include the findings of the Phase II? | Phase I Updated with Phase II Findings? | PhaseIUpdatedWithPhaseIIFindingsIndicator |  | C |  |  | A code indicating whether the Phase I Environmental Report has been updated to include Phase II findings. This Indicator must be set to 'Yes' if EnvironmentalPhaseIISiteAssessmentRequiredIndicator is set to 'Yes'. | Yes No | Text | Pick List from Allowable Values. Required to be set to 'Yes' if EnvironmentalPhaseIISiteAssessmentRequiredIndicator is set to 'Yes'.
137 |  |  |  | X | Occupancy | Physical Occupancy Percent | PhysicalOccupancyPercent |  |  |  | R | The percentage of residential rentable units physically occupied for the property as of the date the mortgage loan was originated. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 81.25%, enter 81.25).
138 |  |  |  | X | Previous Seismic Retrofit | Previous Seismic Retrofit Overview | PreviousSeismicRetrofitOverviewDescription |  |  |  | O | A free-form text to capture the description of previous seismic retrofit upgrades and ordinances. |  | Text | Free-form text, 0 to 100-character long.
139 | X | X | X | X | Street Address | Property Address | PropertyAddress | R | R | R | R | A free-form text to capture the address of the property serving as mortgage collateral. |  | Text | Free-form text, 1 to 100-character long.
140 | X |  |  |  | Property Assessment Date (Mo/Day/Year) | Property Condition Assessment Date | PropertyConditionAssessmentDate | R |  |  |  | The date on which the site visit for the Property Condition Assessment is conducted. |  | Date | Format: MM/DD/YYYY
141 | X |  |  |  | Overall Property Rating | Property Condition Rating | PropertyConditionRating | R |  |  |  | A code indicating the condition of the property based on the most recent inspection results. Codes are pursuant to CREFC/MBA standard property inspection report results. If defeased, leave empty. | 1 2 3 4 5 | Text | Pick List from Allowable Values.
142 |  |  | X |  | Property Damage Threshold Percent | Property Damage Threshold Percent | PropertyDamageThresholdPercent |  |  | R |  | A parameter that requires the owner to comply with the current zoning code in rebuilding the property if a certain percentage of the building is destroyed (i.e. the lesser of the jurisdiction’s damage threshold or 100%). |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 12.34%, enter 12.34).
143 | X |  |  |  | Property High Risk Seismic Zone Indicator | Property High Seismic Risk Zone? | PropertyHighSeismicRiskZoneIndicator | R |  |  |  | An indicator identifying if the property is located in a high-risk earthquake area (i.e., peak ground acceleration of 0.15g or greater). | Yes No | Text | Pick List from Allowable Values.
144 |  |  | X |  | Property Size | Property Land Area in Acres | PropertyLandAreaInAcres |  |  | R |  | The total land area of the property, expressed in acres. |  | Decimal | Number with up to 3 decimals, range from 0.001 to 10000.000 (e.g., 9.145).
145 | X | X | X | X | Property Name | Property Name | PropertyName | O | O | O | O | The current name of the property that serves as mortgage collateral. |  | Text | Free-form text, 0 to 100-character long.
146 | X |  |  |  | Total Net Rentable SF | Property Net Rentable Residential Area in Square Feet | PropertyNetRentableResidentialAreaInSquareFeet | R |  |  |  | The net rentable residential square feet area of a property at the time the property is acquired to the mortgage pool as collateral. |  | Decimal | Number with up to 2 decimals. The lower limit is zero or greater than zero if Manufactured Housing Module Completed = 'Yes'; otherwise, greater than zero. The upper limit is 99,999,999.99. Therefore the range is from 0-99,999,999.99 if Manufactured Housing Module Completed = 'Yes'; otherwise, the range is from 1.00-99,999,999.99.
147 |  |  |  | X | PML SEL-475 Aggregate for Subject Property | Property PML SEL-475 | PropertyPMLSEL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Expected Loss (SEL) for the subject property based on a 50% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
148 |  |  |  | X | PML SUL-475 Aggregate for Subject Property | Property PML SUL-475 | PropertyPMLSUL475 |  |  |  | R | The percentage of Probable Maximum Loss (PML) as the Scenario Upper Loss (SUL) for the subject property based on a 10% probability of exceedance in a 50-year period for a return period of 475 years. |  | Decimal | Number with up to 2 decimals, zero or greater than zero, range from 0.00 to 100.00. Enter value preceding the percent sign (e.g., if value is 15.12%, enter 15.12).
149 | X |  |  |  | Gross Building Area | Property Total Gross Building Area in Square Feet | PropertyTotalGrossBuildingAreaInSquareFeet | R |  |  |  | The square feet area of a property at the time the property is acquired to the mortgage pool as collateral. |  | Decimal | Number with up to 2 decimals. The lower limit is zero or greater than zero if Manufactured Housing Module Completed = 'Yes'; otherwise, greater than zero. The upper limit is 99,999,999.99. Therefore the range is from 0-99,999,999.99 if Manufactured Housing Module Completed = 'Yes'; otherwise, the range is from 1.00-99,999,999.99.
150 |  |  | X |  | Rebuildability Clause | Rebuildability Clause | RebuildabilityClauseDescription |  |  | O |  | A free-form text to capture the legal requirement from the rebuildability clause in case of destruction of the subject property. |  | Text | Free-form text, 0 to 1000-character long.
151 |  | X |  |  | In the Environmental Professional Opinion does the REC pose a health or safety risk to the occupants or an environmental risk? | REC Risk? | RECRiskIndicator |  | C |  |  | In the environmental professional opinion, a code indicating whether the Recognized Environmental Condition (REC) pose a health or safety risk to the occupants or an environmental risk. | Yes No | Text | Optional if ThirdPartyReportScopeStandard is 'ASTM E1528' otherwise Required. If Required, use Pick List from Allowable Values.
152 |  | X |  |  | Recognized Environmental Condition (REC) (not Controlled) | Recognized Environmental Condition (REC) | RecognizedEnvironmentalConditionDescription |  | O |  |  | A free-form text to capture the Recognized Environmental Condition (REC) as in the presence or likely presence of any hazardous substances or petroleum products in, on, or at a property: due to release to the environment; under conditions indicative of a release to the environment; or under conditions that pose a material threat of a future release to the environment. |  | Text | Free-form text, 0 to 100-character long.
153 |  |  | X |  | Is there any building code violation information on record? | Recorded Building Code Violation? | RecordedBuildingCodeViolationIndicator |  |  | R |  | A code indicating whether there is any building code violation on record for the subject property. | Yes No | Text | Pick List from Allowable Values.
154 |  |  | X |  | Is there any fire code violation information on record? | Recorded Fire Code Violation? | RecordedFireCodeViolationIndicator |  |  | R |  | A code indicating whether there is any fire code violation on record for the subject property. | Yes No | Text | Pick List from Allowable Values.
155 |  |  | X |  | Is there any zoning violation information on record? | Recorded Zoning Violation? | RecordedZoningViolationIndicator |  |  | R |  | A code indicating whether there is any zoning violation on record for the subject property. | Yes No | Text | Pick List from Allowable Values.
156 |  | X |  |  | Regulatory Agency Summary of Communication | Regulatory Agency Summary of Communication | RegulatoryAgencySummaryOfCommunicationDescription |  | C |  |  | A free-form text to capture the communication summary between the environmental report provider and the regulatory agency or record review findings. |  | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. If Required, Free-form text, 0 to 100-character long.
157 |  | X |  |  | Regulatory Agency Type | Regulatory Agency Type | RegulatoryAgencyType |  | C |  |  | If there is an environmental condition of concern, a code indicating the type of regulatory agency that environmental report providers contact or review records from. | State Department Health Department Fire Department Building Department Oil and Gas Exploration Other | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. If Required, Use Pick List from Allowable Values.
158 |  | X |  |  | Regulatory Agency Type Description | Regulatory Agency Type Description | RegulatoryAgencyTypeDescription |  | C |  |  | If the value of 'Other' is selected for the code indicating the type of regulatory agency that environmental report providers contact or review records from, then its description is included. |  | Text | Required if RegulatoryAgencyType is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
159 |  | X |  |  | If answer to sites of concern from database search is "yes", then identify database , and describe site(s) of concern listings | Regulatory Database | RegulatoryDatabaseDescription |  | C |  |  | If there is any site of concern from database search, a free-form text to capture the description of database, website or listing. |  | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. If Required, Free-form text, 0 to 100-character long.
160 |  | X |  |  | Has a Responsible Party been identified? | Responsible Party Identified? | ResponsiblePartyIdentifiedIndicator |  | O |  |  | If there is a REC, CREC, HREC, or non-REC issue, a code identifying whether a responsible party has been identified. | Yes No | Text | Pick List from Allowable Values.
161 |  |  |  | X | Seismic Retrofit Code | Retrofit Building Code | RetrofitBuildingCodeDescription |  |  |  | O | A free-form text to capture the description of building codes or sets of regulations governing the design, construction, alteration and maintenance of structures. They specify the minimum requirements to adequately safeguard the health, safety and welfare of building occupants. |  | Text | Free-form text, 0 to 255-character long.
162 |  |  |  | X | Date of Retrofit | Retrofit Date | RetrofitDate |  |  |  | O | The date on which the mandatory seismic retrofit upgrades and ordinances were last completed. |  | Date | Format: MM/DD/YYYY
163 | X |  |  |  | Are roofs pitched or flat? | Roof Type | RoofType | R |  |  |  | A code indicating the type of roof. | Flat Other Pitched | Text | Pick List from Allowable Values.
164 | X |  |  |  | Roof Type Description | Roof Type Description | RoofTypeDescription | C |  |  |  | If the value of 'Other' is selected for the code indicating the roof type, then its description is included. |  | Text | Required if RoofType is 'Other', otherwise Optional Free-form text, 1 to 100-character long if entered.
165 | X |  |  |  | Scattered Parcel Site as Defined by DUS Guide? | Scattered Parcel? | ScatteredParcelIndicator | R |  |  |  | For non-single parcels, a code indicating whether the parcels on which the multifamily property is located are contiguous separated and comply by the Fannie Mae Multifamily Selling and Servicing Guide. | Yes No | Text | Pick List from Allowable Values.
166 |  |  |  | X | Seiche / Dam Failure | Seiche or Dam Failure Potential | SeicheOrDamFailurePotential |  |  |  | R | A code indicating the risk of damage of a property due to a temporary disturbance or oscillation in the water level of a lake or partially enclosed water or the failure of barrier constructed to hold back water. | None Low Medium High Very High | Text | Pick List from Allowable Values.
167 |  |  |  | X | Seismic Risk Assessment Date | Seismic Risk Assessment Date | SeismicRiskAssessmentDate |  |  |  | R | The date on which the site visit for the Seismic Risk Assessment is conducted. |  | Date | Format: MM/DD/YYYY
168 | X |  |  |  | Modules Completed Indicator - Seniors Housing | Seniors Housing Module Completed? | SeniorsHousingModuleCompletedIndicator | O |  |  |  | For any Seniors Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
169 |  | X |  |  | Any sites of concern from Regulatory Database Search? | Site of Concern from Regulatory Database Search? | SiteOfConcernFromRegulatoryDatabaseSearchIndicator |  | C |  |  | A code indicating whether there is any site of concern on properties in the immediate vicinity of the subject property per Regulatory Database Search. | Yes No | Text | Required if ThirdPartyReportScopeStandard is 'Database Review' otherwise Optional. If Required, Use Pick List from Allowable Values.
170 |  |  |  | X | Site Soil Classification (ASCE 7-10) | Site Soil Classification | SiteSoilClassification |  |  |  | R | A code indicating the type of soil, based on the upper 100 feet of soil and rock from the base of a building per the seismic provisions in Minimum Design Loads for Buildings and Other Structures by the American Society of Civil Engineers (ASCE 7-10). | Site Class A Hard rock Site Class B Rock Site Class C Very dense soil and soft rock Site Class D Stiff soil Site Class E Soft clay soil Site Class F Soils requiring site-specific geotechnical investigation | Text | Pick List from Allowable Values.
171 | X |  |  |  | Modules Completed Indicator - Solar PV | Solar PV Module Completed? | SolarPVModuleCompletedIndicator | O |  |  |  | A code indicating the completion of the Solar Photovoltaic Module. | Yes No | Text | Pick List from Allowed Values.
172 | X | X | X | X | State | State | State | R | R | R | R | The two-character abbreviated code representing the state in which the property or properties which serve as mortgage collateral are located. |  | Text | Pick List from Allowable Values.
173 | X |  |  |  | Modules Completed Indicator - Student Housing | Student Housing Module Completed? | StudentHousingModuleCompletedIndicator | O |  |  |  | For any Student Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Pick List from Allowable Values.
174 |  |  |  | X | Surface Fault Rupture Potential | Surface Fault Rupture Potential | SurfaceFaultRupturePotential |  |  |  | R | A code indicating the risk of damage of a property due to movement of the subsurface caused by the hypothetical fault rupture of a building founded directly over an active fault or within close proximity to the documented, active fault trace. | None Low Medium High Very High | Text | Pick List from Allowable Values.
175 | X | X | X | X | PCA Assessment Completed by OR Phase I Site Assessment Completed by OR Zoning Assessment Completed by OR Seismic Assessment Completed by | Third-Party Report Assessor Name | ThirdPartyReportAssessorName | R | R | R | R | The name of the individual that conducted the site visit and inspected the property where applicable or performed research about the property on behalf of the Third-Party report company. |  | Text | Free-form text, 1 to 100-character long.
176 | X | X | X | X | Name of PCA Report Company OR Name of Environmental Report Company OR Name of Zoning Report Company OR Name of Seismic Report Company | Third-Party Report Company Name | ThirdPartyReportCompanyName | R | R | R | R | The name of the company that generates the Third-Party report at the lender's request. |  | Text | Free-form text, 1 to 100-character long.
177 | X | X | X | X | Project Number | Third-Party Report Project Identifier | ThirdPartyReportProjectIdentifier | O | O | O | O | A unique number assigned to the project by the Third-Party report company. |  | Text | Free-form text, 0 to 100-character long.
178 | X | X | X | X | Lender Representative ordering report | Third-Party Report Requester Name | ThirdPartyReportRequesterName | R | R | R | R | The name of the individual that ordered the Third-Party report on behalf of the lender. |  | Text | Free-form text, 1 to 100-character long.
179 | X | X | X | X | Report Scope Standard | Third-Party Report Scope Standard | ThirdPartyReportScopeStandard | R | R | R | R | The standard(s) that Fannie Mae requires Third-Party reports to comply by in addition to complying by the Fannie Mae Multifamily Selling and Servicing Guide. | ASTM E1527 - Standard Practice for Environmental Site Assessments: Phase I Environmental Site Assessment Process ASTM E1528 - Standard Practice for Limited Environmental Due Diligence: Transaction Screen Process ASTM E1903 - Standard Practice for Environmental Site Assessments: Phase II Environmental Site Assessment Process ASTM E2018 - Standard Guide for Property Condition Assessments: Baseline Property Condition Assessment Process ASTM E2026 - Standard Guide for Seismic Risk Assessment of Buildings ASTM E2557 - Standard Practice for Probable Maximum Loss (PML) Evaluations for Earthquake Due-Diligence Assessments Database Review - Environmental Database Review USPAP - Uniform Standards of Professional Appraisal Practice Other - Other Standards approved by Fannie Mae | Text | Pick List from Allowable Values.
180 |  |  | X |  | Third-Party Report Scope Standard Description | Third-Party Report Scope Standard Description | ThirdPartyReportScopeStandardDescription |  |  | R |  | Since the ThirdPartyReportScopeStandard is set to 'Other, its description is included here. |  | Text | Required since ThirdPartyReportScopeStandard is 'Other'
181 | X | X | X | X | PCA Consultant Signatory OR Report Signatory | Third-Party Report Signatory Name | ThirdPartyReportSignatoryName | R | R | R | R | The name of the individual that reviewed and signed the Third-Party report on behalf of the Third-Party report company. |  | Text | Free-form text, 1 to 100-character long.
182 | X | X | X | X | Date of PCA Report Signature OR Date of Environmental Report Signature OR Date of Zoning Report Signature OR Date of Seismic Report Signature | Third-Party Report Signature Date | ThirdPartyReportSignatureDate | R | R | R | R | The date on which the Third-Party report is reviewed and signed by the report signatory. |  | Date | Format: MM/DD/YYYY
183 | X |  |  |  | Third-Party Report Sub Type | Third-Party Report Sub Type | ThirdPartyReportSubType | C |  |  |  | A code indicating the sub type of Third-Party report (e.g., PCA) the lender is required by Fannie Mae on a property. | Base PCA Streamlined PCA | Text | Pick List from Allowable Values. Required if ThirdPartyReportType = 'PCA'.
184 | X | X | X | X | Third-Party Report Type | Third-Party Report Type | ThirdPartyReportType | R | R | R | R | A code indicating the type of Third-Party report the lender is required by Fannie Mae on a property. | ESA - Environmental Site Assessment Report PCA - Property Condition Assessment Report SRA - Seismic Risk Assessment Report ZON - Zoning Report AR - Appraisal Report | Text | Pick List from Allowable Values.
185 | X |  |  |  | Total Immediate Repairs Cost | Total Immediate Repairs Cost | TotalImmediateRepairsCost | R |  |  |  | The dollar amount needed for all immediate repairs in total. |  | Dollar | Number with up to 2 decimals, zero or greater than zero.
186 |  |  |  | X | Tsunami Inundation | Tsunami Inundation Potential | TsunamiInundationPotential |  |  |  | R | A code indicating the risk of damage of a property due to inundation from a tsunami wave penetrating inland. | None Low Medium High Very High | Text | Pick List from Allowable Values.
187 | X |  |  |  | Were units inspected selected by PCA Consultant? | Units Inspected Selected by PCA Consultant? | UnitsInspectedSelectedByPCAConsultantIndicator | R |  |  |  | A code indicating whether the units inspected during the Property Condition Assessment were selected by the PCA consultant. | Yes No | Text | Pick List from Allowable Values.
188 | X |  |  | X | Use of Ground Floor | Use of Ground Floor | UseOfGroundFloor | R |  |  | R | A code indicating the use of the ground floor at the property. | Residential Retail Parking Other | Text | Pick List from Allowable Values.
189 | X |  |  | X | Use of Ground Floor Description | Use of Ground Floor Description | UseOfGroundFloorDescription | C |  |  | C | If the value of 'Other' is selected for the code indicating the use of ground floor, then its description is included. |  | Text | Required if UseOfGroundFloor is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
190 | X |  |  |  | Walkway Construction | Walkway Construction Type | WalkwayConstructionType | R |  |  |  | A code indicating the construction type for walkways in the property. | Concrete Frame (Cast-in-place) Concrete Frame (Pre-cast) Other Reinforced Masonry Steel Frame Unreinforced Masonry Wood Frame | Text | Pick List from Allowable Values.
191 | X |  |  |  | Walkway Construction Type Description | Walkway Construction Type Description | WalkwayConstructionTypeDescription | C |  |  |  | If the value of 'Other' is selected for the code indicating the type of Walkway Construction, then its description is included. |  | Text | Required if WalkwayConstructionType is 'Other', otherwise Optional. Free-form text, 1 to 100-character long if entered.
192 |  | X |  | X | Date of Original Construction OR Year of Construction | Year Built | YearBuilt |  | O |  | R | This is an optional field since there may not be any buildings on the site at all. If applicable, enter the year the property was originally built. For multiple buildings or phases, enter the earliest year built. |  | Text | This is an Optional data point for ESA. If entered, should be a 4-digit year and should be greater than or equal to 1700.
193 | X |  |  |  | Year(s) of Substantial Rehab / Renovation | Year of Renovation | YearOfRenovation | O |  |  |  | The year the property was substantially renovated. For multiple years of substantial renovation, enter the latest year of completed renovation. |  | Text | If entered, it should be a 4-digit year and greater than or equal to 1700.
194 | X |  |  |  | Year(s) Built / Date of construction | Years of Construction | YearsOfConstructionDescription | R |  |  |  | The years the property was built. For multiple buildings or phases, enter all years of construction separated by commas. |  | Text | Free-form text, 1 to 100-character long.
195 | X | X | X | X | Zip Code | Zip Code | ZipCode | R | R | R | R | The zip (or postal) code for the property or properties which serve as mortgage collateral. |  | Text | 5-character long, including leading zeroes
196 |  |  | X |  | Description of Existing Zoning Designation | Zoning Designation | ZoningDesignationDescription |  |  | R |  | A free-form text to capture the zoning designation of the property. For non-standard zoning districts, use this field to explain any special zoning requirements. |  | Text | Free-form text, 1 to 100-character long.
197 |  |  | X |  | Nonconforming Characteristics of the Site | Zoning Nonconforming Characteristics | ZoningNonconformingCharacteristicsDescription |  |  | O |  | A free-form text to capture the nonconforming zoning characteristics of the subject property. |  | Text | Free-form text, 0 to 100-character long.
198 |  |  | X |  | Recommended Action | Zoning Recommended Action | ZoningRecommendedActionDescription |  |  | O |  | A free-form text to capture the actions recommended for the subject property by the zoning report provider. |  | Text | Free-form text, 0 to 100-character long.
199 | X |  |  |  | Zoning, Building, or Fire Code Violation Indicator | Zoning, Building, or Fire Code Violation? | ZoningBuildingOrFireCodeViolationIndicator | R |  |  |  | A code indicating whether the property is out of compliance with building codes; health codes; fire codes; zoning ordinances; or energy auditing, retro-commissioning or benchmarking laws. | Yes No | Text | Pick List from Allowable Values.

## Change Log
Third-Party Report Standards and Technical Specifications v2.3.6 - Change Log
2021-12-09
Note: v2.3.6 is backward compatible with v2.3.5
PCA | ESA
Added the optional data point Immediate Repair Quantity | Added Environmental Database Review Date to Assessment Date
Added the optional data point Immediate Repair Unit Of Measure | Added Database Review Justification Type to Adjacent Properties Ground water And Regulatory Database Search
Added the optional data point Immediate Repair Unit Cost |  | Added the allowed value 'Choice Refinance Loan'
Added business rules for all the above three new data points |  | Added the allowed value 'Supplemental Mortgage Loan'
Clarified the business rule for Property Net Rentable Residential Area in Square Feet | Added the allowed value 'Database Review' to Third Party Report Scope Standard
Clarified the business rule for Property Total Gross Building Area in Square Feet | Added the allowed value 'Acceptable Database Review' to DUS Compliance Conclusion
Year Built is now optional; if entered, it should be greater than or equal to '1700'
All the 7 BER fields are now optional, if ASTM E1528 is selected for Third-Party Report Scope Standard
SRA | ZON
None | None