## Business Glossary PCA
Effective June 2025
DUS Property Condition Assessment Data Set - Business Glossary v2.3.8
Attribute Count: 159 | Name of data point as often seen on reports. | Standardized name of data point utilized in CSV format. | Camel case technical data point name utilized in XML format. | The data point is Required (R), Optional (O), or Conditionally required (C). | Definitions and Allowable Values sourced either from existing Data Glossaries (e.g., Fannie Mae Multifamily Business Glossary) or generated in collaboration with DUS Lender and Fannie Mae subject matter experts. |  | Format and length of data point. | Applicable Business Validation Rules.
No. | Business Name | Standard Business Name | Technical Data Point Name | Attribute Inclusion | Definition | Allowable Values | Data Type | Business Rules
1 | Fannie Mae Collateral Reference Number | Collateral Reference Number | CollateralReferenceNumber | O | A unique number assigned by Fannie Mae to identify the collateral, referenced by its Deal Identifier. For a regular flow deal, there is one Collateral to one Deal. However, there may be more than one Collateral for a Structured Deal. |  | Text | 10-character long for flow deals, 14-character long for structured deals, including leading zeroes.
2 | Name of DUS Lender | DUS Lender Name | DUSLenderName | R | The name of the lender organization that has been given priority status by Fannie Mae. |  | Text | Free form text, 1 to 100 characters in length.
3 | PCA Data Record Type | PCA Data Record Type | PCADataRecordType | R | A code indicating the record type in the PCA data in CSV format to be received by Fannie Mae. This code is purely for technical purposes while processing the incoming PCA data. | M - Main I - Immediate Repairs C - Capital Item | Text | Must be one of the entries from the list of Allowable Values. The code M is for the main record; the codes I and C are for the child record and only one of I and C is used in each child record.
4 | Lender Representative ordering report | Third-Party Report Requester Name | ThirdPartyReportRequesterName | R | The name of the individual that ordered the Third-Party report on behalf of the lender. |  | Text | Free form text, 1 to 100 characters in length.
5 | Third-Party Report Type | Third-Party Report Type | ThirdPartyReportType | R | A code indicating the type of Third-Party report the lender is required by Fannie Mae on a property. | PCA - Property Condition Assessment Report | Text | Must be one of the entries from the list of Allowable Values.
6 | Third-Party Report Sub Type | Third-Party Report Sub Type | ThirdPartyReportSubType | R | A code indicating the sub type of Third-Party report (e.g., PCA) the lender is required by Fannie Mae on a property. | Base PCA Streamlined PCA | Text | Must be one of the entries from the list of Allowable Values.
7 | Name of PCA Report Company | Third-Party Report Company Name | ThirdPartyReportCompanyName | R | The name of the company that generates the Third-Party report at the lender's request. |  | Text | Free form text, 1 to 100 characters in length.
8 | Report Signatory | Third-Party Report Signatory Name | ThirdPartyReportSignatoryName | R | The name of the individual that reviewed and signed the Third-Party report on behalf of the Third-Party report company. |  | Text | Free form text, 1 to 100 characters in length.
9 | PCA Assessment Completed by | Third-Party Report Assessor Name | ThirdPartyReportAssessorName | R | The name of the individual that conducted the site visit and inspected the property where applicable or performed research about the property on behalf of the Third-Party report company. |  | Text | Free form text, 1 to 100 characters in length.
10 | Date of PCA Report Signature | Third-Party Report Signature Date | ThirdPartyReportSignatureDate | R | The date on which the Third-Party report is reviewed and signed by the report signatory. |  | Date | A valid date in the format MM/DD/YYYY.
11 | Project Number | Third-Party Report Project Identifier | ThirdPartyReportProjectIdentifier | O | A unique number assigned to the project by the Third-Party report company. |  | Text | Free form text, 1 to 100 characters in length.
12 | Report Scope Standard | Third-Party Report Scope Standard | ThirdPartyReportScopeStandard | R | The standard(s) that Fannie Mae requires Third-Party reports to comply by in addition to complying by the Fannie Mae Multifamily Selling and Servicing Guide. | ASTM E2018 - Standard Guide for Property Condition Assessments: Baseline Property Condition Assessment Process | Text | Must be one of the entries from the list of Allowable Values.
13 | Zip Code | Zip Code | ZipCode | R | The zip (or postal) code for the property or properties which serve as mortgage collateral. |  | Text | Must be a string of 5 numeric characters.
14 | State | State | State | R | The two-character abbreviated code representing the state in which the property or properties which serve as mortgage collateral are located. |  | Text | Must be one of the entries from the list of Allowable Values.
15 | City | City | City | R | The name of the city where the property or properties which serve as mortgage collateral are located. |  | Text | Free form text, 1 to 100 characters in length.
16 | Street Address | Property Address | PropertyAddress | R | A free-form text to capture the address of the property serving as mortgage collateral. |  | Text | Free form text, 1 to 100 characters in length.
17 | Property Name | Property Name | PropertyName | R | The current name of the property that serves as mortgage collateral. |  | Text | Free form text, 1 to 100 characters in length.
18 | Jurisdiction | Jurisdiction | Jurisdiction | R | Free form text describing one or more names of the local authorities that govern the property. |  | Text | Free form text, 1 to 100 characters in length.
19 | No. of Parcels | Number of Parcels | NumberOfParcels | R | The number of plots of land on which the multifamily property is located. |  | Integer | Must be a whole number, greater than zero.
20 | Assessor's Parcel Number (APN) | Assessor's Parcel Number | AssessorsParcelNumber | O | A unique number assigned to each parcel of land by a county tax assessor. |  | Text | Free form text, 1 to 100 characters in length.
21 | Are Parcels Contiguous? | Adjoining Parcel? | AdjoiningParcelIndicator | R | For non-single parcels, a code indicating whether the parcels on which the multifamily property is located are contiguous adjoining and comply by the Fannie Mae Multifamily Selling and Servicing Guide. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
22 | Scattered Parcel Site as Defined by DUS Guide? | Scattered Parcel? | ScatteredParcelIndicator | R | For non-single parcels, a code indicating whether the parcels on which the multifamily property is located are contiguous separated and comply by the Fannie Mae Multifamily Selling and Servicing Guide. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
23 | Year(s) Built / Date of construction | Years of Construction | YearsOfConstructionDescription | R | The years the property was built. For multiple buildings or phases, enter all years of construction separated by commas. |  | Text | Free form text, 1 to 100 characters in length.
24 | Year(s) of Substantial Rehab / Renovation | Year of Renovation | YearOfRenovation | O | The year the property was substantially renovated. For multiple years of substantial renovation, enter the latest year of completed renovation. |  | Text | A value representing the four-digit year (YYYY) greater than or equal to 1700.
25 | Total # of apartment buildings OR Number of Buildings | Number of Multifamily Buildings | NumberOfMultifamilyBuildings | R | The total number of buildings within the property securing the mortgage loan. If the property is a manufactured housing community, the number of buildings is "0". |  | Integer | Must be a whole number, between 0 to 999.
26 | Total of Other Buildings | Number of Other Buildings | NumberOfOtherBuildings | R | The total number of non-multifamily apartment buildings within the property securing the mortgage loan. |  | Integer | Must be a whole number, between 0 to 999.
27 | Style of Buildings | Building Type | BuildingType | R | A code indicating the type of building for the property securing the loan. | Garden High-Rise Mid-Rise Townhouse Other Single Family Rental | Text | Must be one of the entries from the list of Allowable Values.
28 | Building Type Description | Building Type Description | BuildingTypeDescription | C | If the value of 'Other' is selected for the code indicating the type of Building, then its description is included. |  | Text | Free form text, 1 to 100 characters in length. Required if Building Type is 'Other'.
29 | No. of Stories (if multiple provide each) OR Number of Stories | Number of Stories | NumberOfStoriesDescription | R | A free-form text to capture the number of stories for every building on the property serving as mortgage collateral. |  | Text | Free form text, 1 to 100 characters in length.
30 | Use of Ground Floor | Use of Ground Floor | UseOfGroundFloor | R | A code indicating the use of the ground floor at the property. | Residential Retail Parking Other | Text | Must be one of the entries from the list of Allowable Values.
31 | Use of Ground Floor Description | Use of Ground Floor Description | UseOfGroundFloorDescription | C | If the value of 'Other' is selected for the code indicating the use of ground floor, then its description is included. |  | Text | Free form text, 1 to 100 characters in length. Required if Use Of Ground Floor is 'Other'.
32 | Total # of dwelling units | Number of Units | NumberofUnits | R | The total number of residential units in all phases of the property securing the mortgage loan. |  | Integer | Must be a whole number, greater than zero.
33 | Total # of beds (student housing only) | Number of Beds | NumberofBeds | O | The total number of beds at the student housing type property. |  | Integer | Must be a whole number, zero or greater than zero.
34 | Property Assessment Date (Mo/Day/Year) | Property Condition Assessment Date | PropertyConditionAssessmentDate | R | The date on which the site visit for the Property Condition Assessment is conducted. |  | Date | A valid date in the format MM/DD/YYYY.
35 | No. of Units Inspected | Number of Units Inspected | NumberOfUnitsInspected | R | The number of units inspected on the date of the Property Condition Assessment by the PCA consultant. |  | Integer | Must be a whole number, greater than zero.
36 | Percent of Units Inspected OR Specify percentage of units accessed at property | Percent of Units Inspected | PercentOfUnitsInspected | O | The percentage of number of units inspected on the date of the Property Condition Assessment or Environmental Site Assessment by the PCA consultant or the ESA consultant, respectively. |  | Decimal | Must be a decimal value between 1.00 and 100.00. Enter value preceding the percent sign (e.g., if value is 1.25%, enter 1.25).
37 | Were units inspected selected by PCA Consultant? | Units Inspected Selected by PCA Consultant? | UnitsInspectedSelectedByPCAConsultantIndicator | R | A code indicating whether the units inspected during the Property Condition Assessment were selected by the PCA consultant. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
38 | Down Units on Date of Inspection | Number of Down Units | NumberOfDownUnits | R | The number of rental units not available more than 72 hours due to remodeling or obsolescence for the property as of the Property Condition Assessment date. |  | Integer | Must be a whole number, zero or greater than zero.
39 | Total Net Rentable SF | Property Net Rentable Residential Area in Square Feet | PropertyNetRentableResidentialAreaInSquareFeet | R | The net rentable residential square feet area of a property at the time the property is acquired to the mortgage pool as collateral. |  | Decimal | Must be a decimal value between 1.00 to 99,999,999.99. If Manufactured Housing Module Completed = 'Yes'; must be a decimal value between 0.00 to 99,999,999.99.
40 | Gross Building Area | Property Total Gross Building Area in Square Feet | PropertyTotalGrossBuildingAreaInSquareFeet | R | The square feet area of a property at the time the property is acquired to the mortgage pool as collateral. |  | Decimal | Must be a decimal value between 1.00 to 99,999,999.99. If Manufactured Housing Module Completed = 'Yes'; must be a decimal value between 0.00 to 99,999,999.99.
41 | Moisture or Microbial Growth Indicator | Moisture or Microbial Growth Present? | MoistureOrMicrobialGrowthPresentIndicator | R | A code indicating the presence of moisture or microbial growth observed or detected at the Property. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
42 | Pest Indicator | Pest Present? | PestPresentIndicator | R | A code indicating the presence of pests observed or detected at the Property. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
43 | Property High Risk Seismic Zone Indicator | Property High Seismic Risk Zone? | PropertyHighSeismicRiskZoneIndicator | R | An indicator identifying if the property is located in a high-risk earthquake area (i.e., peak ground acceleration of 0.15g or greater). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
44 | Catastrophic Event Prone Indicator | Catastrophic Event Prone? | CatastrophicEventProneIndicator | R | A code indicating whether the property is located in an area prone to catastrophic events. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
45 | Zoning, Building, or Fire Code Violation Indicator | Zoning, Building, or Fire Code Violation? | ZoningBuildingOrFireCodeViolationIndicator | R | A code indicating whether the property is out of compliance with building codes; health codes; fire codes; zoning ordinances; or energy auditing, retro-commissioning or benchmarking laws. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
46 | ADA/FHA compliance issues | ADA/FHA Compliance Issues? | ADAFHAComplianceIssuesIndicator | R | A code indicating whether the property is in compliance with the Americans with Disabilities Act ("ADA") and the Fair Housing Act ("FHA"). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
47 | Energy Compliance and Reporting Indicator | Energy Compliance and Reporting? | EnergyComplianceAndReportingIndicator | R | A code indicating whether the property is in compliance with federal, state, or local retro-commissioning, energy audit and reporting, or other energy-related compliance requirements. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
48 | Total Parking Spaces OR Existing number of parking spaces | Number of Existing Parking Spaces | NumberOfExistingParkingSpaces | R | The total number of parking spaces in all phases of the property securing the mortgage loan. |  | Integer | Must be a whole number, between 0 to 9999.
49 | Total Handicap Accessible Parking Spaces | Number of Handicap Accessible Parking Spaces | NumberOfHandicapAccessibleParkingSpaces | R | The total number of handicap accessible parking spaces in all phases of the property securing the mortgage loan. |  | Integer | Must be a whole number, between 0 to 9999.
50 | Parking Ratio | Parking Ratio | ParkingRatio | R | The ratio of the total number of parking spaces including handicap accessible parking spaces to the total number of dwelling units in all phases of the property securing the mortgage loan. |  | Decimal | Must be a decimal value between 0.00 and 10.00. Enter the ratio in decimals (e.g., if ratio is 0.63, enter 0.63).
51 | Do buildings have interior common stairways or hallways? | Common Stairways or Hallways? | CommonStairwaysOrHallwaysIndicator | R | A code indicating whether buildings in the property have interior common stairways or hallways. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
52 | Do buildings have covered common breezeways? | Covered Common Breezeways? | CoveredCommonBreezewaysIndicator | R | A code indicating whether buildings in the property have covered common breezeways. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
53 | Are roofs pitched or flat? | Roof Type | RoofType | R | A code indicating the type of roof. | Flat Other Pitched | Text | Must be one of the entries from the list of Allowable Values.
54 | Roof Type Description | Roof Type Description | RoofTypeDescription | C | If the value of 'Other' is selected for the code indicating the roof type, then its description is included. |  | Text | Free form text, 1 to 100 characters in length. Required if Roof Type is 'Other'.
55 | Construction Type Multifamily Buildings | Multifamily Building Construction Type | MultifamilyBuildingConstructionType | R | A code indicating the construction type for multifamily apartment buildings on the property. | Concrete Frame (Cast-in-place) Concrete Frame (Pre-cast) Other Reinforced Masonry Steel Frame Unreinforced Masonry Wood Frame | Text | Must be one of the entries from the list of Allowable Values.
56 | Multifamily Building Construction Type Description | Multifamily Building Construction Type Description | MultifamilyBuildingConstructionTypeDescription | C | If the value of 'Other' is selected for the code indicating the type of Multifamily Building Construction, then its description is included. |  | Text | Free form text, 1 to 100 characters in length. Required if Multifamily Building Construction Type is 'Other'.
57 | Walkway Construction | Walkway Construction Type | WalkwayConstructionType | R | A code indicating the construction type for walkways in the property. | Concrete Frame (Cast-in-place) Concrete Frame (Pre-cast) Other Reinforced Masonry Steel Frame Unreinforced Masonry Wood Frame | Text | Must be one of the entries from the list of Allowable Values.
58 | Walkway Construction Type Description | Walkway Construction Type Description | WalkwayConstructionTypeDescription | C | If the value of 'Other' is selected for the code indicating the type of Walkway Construction, then its description is included. |  | Text | Free form text, 1 to 100 characters in length. Required if Walkway Construction Type is 'Other'.
59 | Modules Completed Indicator - Student Housing | Student Housing Module Completed? | StudentHousingModuleCompletedIndicator | O | For any Student Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
60 | Modules Completed Indicator - Seniors Housing | Seniors Housing Module Completed? | SeniorsHousingModuleCompletedIndicator | O | For any Seniors Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
61 | Modules Completed Indicator - Manufactured Housing | Manufactured Housing Module Completed? | ManufacturedHousingModuleCompletedIndicator | O | For any Manufactured Housing property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
62 | Modules Completed Indicator - Cooperative Property | Cooperative Property Module Completed? | CooperativePropertyModuleCompletedIndicator | O | For any Cooperative Property, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
63 | Modules Completed Indicator - Residential / Commercial Mix | Commercial/Retail Use Module Completed? | CommercialOrRetailUseModuleCompletedIndicator | O | For any Property with any commercial use, a code indicating the completion of the corresponding Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
64 | Modules Completed Indicator - Integrated Pest Management Plan | IPMP Module Completed? | IPMPModuleCompletedIndicator | O | For any Property with observed or detected pests, a code indicating the completion of the Integrated Pest Management Plan (IPMP) Property Condition Assessment Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
65 | Modules Completed Indicator - High Performance Building (HPB) Evaluation | HPB Module or Report Completed? | HPBModuleOrReportCompletedIndicator | O | For any Property securing a Green Rewards Mortgage Loan, Green Preservation Plus Mortgage Loan, or other Mortgage Loan of a product type or secured by an Asset Class as specifically required by Fannie Mae from time to time, a code indicating the completion of the High Performance Building (HPB) Property Condition Assessment Module or Report. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
66 | Overall Property Rating | Property Condition Rating | PropertyConditionRating | R | A code indicating the condition of the property based on the most recent inspection results. Codes are pursuant to CREFC/MBA standard property inspection report results. If defeased, leave empty. | 1 2 3 4 5 | Text | Must be one of the entries from the list of Allowable Values.
67 | Known Problematic Building Materials Action Recommended | KPBM Action Recommended? | KPBMActionRecommendedIndicator | R | A code indicating whether an action is recommended on each Known Problematic Building Material (KPBM) identified. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
68 | Aluminum Branch Wiring | Aluminum Branch Wiring | AluminumBranchWiringIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes aluminum branch wiring. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
69 | Compressed Wood or Composite Board Siding | Compressed Wood or Composite Board Siding | CompressedWoodOrCompositeBoardSidingIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes compressed wood or composite board siding. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
70 | Electrical Overload Protection - Fused Subpanels | Electrical Overload Protection - Fused Subpanels | ElectricalOverloadProtectionFusedSubpanelsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes electrical overload protection - fused subpanels. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
71 | Exterior Insulation and Finishing (EIFS) | Exterior Insulation and Finishing (EIFS) | ExteriorInsulationAndFinishingEIFSIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes exterior insulation and finishing systems (EIFS) (i.e., multi-layered exterior wall systems). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
72 | Federal Pacific Electric Stab-Lok panels | Federal Pacific Electric Stab-Lok panels | FederalPacificElectricStabLokPanelsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes Federal Pacific Electric Stab-Lok panels. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
73 | Fire Retardant Treated Plywood (FRTP) | Fire Retardant Treated Plywood (FRTP) | FireRetardantTreatedPlywoodFRTPIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes fire retardant treated plywood (FRTP). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
74 | Galvanized Steel Water Distribution Lines | Galvanized Steel Water Distribution Lines | GalvanizedSteelWaterDistributionLinesIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes galvanized steel water distribution lines. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
75 | Ground Fault Circuit Interrupter (GFCI) in Wet / Exterior Locations | Ground Fault Circuit Interrupter (GFCI) in Wet / Exterior Locations | GroundFaultCircuitInterrupterGFCIinWetExteriorLocationsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes ground fault circuit interrupter (GFCI) in wet exterior locations. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
76 | Microbial Growth | Microbial Growth | MicrobialGrowthIndicator | R | An indicator identifying whether microbial growth is present within the current known problematic building material (KPBM). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
77 | KPBM Other | KPBM Other | OtherIndicator | R | An indicator identifying whether current known problematic building material (KPBM) is identified as Other. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
78 | KPBM Other Description | KPBM Other Description | OtherDescription | C | A free-form text providing the description of the Know Problematic Building Materials (KPBM), when the value 'Yes' is selected for KPBM Other. |  | Text | Free form text, 1 to 100 characters in length. Required if (KPBM) Other Indicator is 'Y'.
79 | Polybutylene Water Distribution Lines | Polybutylene Water Distribution Lines | PolybutyleneWaterDistributionLinesIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes polybutylene water distribution lines. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
80 | Recalled Cadet Brand Electric in-Wall Heaters | Recalled Cadet Brand Electric in-Wall Heaters | RecalledCadetBrandElectricInWallHeatersIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes recalled Cadet brand electric in-wall heaters. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
81 | Recalled Fire Sprinkler Heads (Central, Omega, Gem, Star) | Recalled Fire Sprinkler Heads (Central, Omega, Gem, Star) | RecalledFireSprinklerHeadsCentralOmegaGemStarIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes recalled fire sprinkler heads, specifically Central, Omega, Gem, Star. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
82 | Problem Drywall | Problem Drywall | ProblemDrywallIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes problem drywall. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
83 | Recalled General Electric / Hotpoint Dishwashers | Recalled General Electric / Hotpoint Dishwashers | RecalledGeneralElectricHotpointDishwashersIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes recalled General Electric / Hotpoint dishwashers. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
84 | Unit Electrical Capacity Less Than 60 Amps | Unit Electrical Capacity Less Than 60 Amps | UnitElectricalCapacityLessThan60AmpsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes unit electrical capacity less than 60 amps. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
85 | Wood Destroying Organisms | Wood Destroying Organisms | WoodDestroyingOrganismsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) is infested with wood destroying organisms. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
86 | Total Immediate Repair Cost | Total Immediate Repair Cost | TotalImmediateRepairsCost | R | The dollar amount needed for all immediate repairs in total. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
87 | Capital Item Annual Inflation Rate | Capital Item Annual Inflation Rate | CapitalItemAnnualInflationRate | O | The inflation rate applied to capital item calculation in the Property Condition Assessment Report. Its default value is 3.00 but can be entered by user. |  | Decimal | Numeric value with two decimal places, greater than or equal to zero. Default value is 3.00 if not entered.
88 | Capital Item Total Uninflated | Capital Item Total Uninflated | CapitalItemTotalUninflated | C | The dollar amount as present value needed for the replacement of all capital items in total. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero. Required if PCA Data Record Type is 'C'.
89 | Capital Item Total Inflated at Annual Inflation Rate | Capital Item Total Inflated at Annual Inflation Rate | CapitalItemTotalInflatedAtAnnualInflationRate | C | The dollar amount adjusted by inflation needed for the replacement of all capital items in total. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero. Required if PCA Data Record Type is 'C'.
90 | Fannie Mae Deal Identifier | Deal Identifier | DealIdentifier | R | The valid DUS Gateway Deal Identifier, a unique identifier assigned by Fannie Mae to identify a transaction between Fannie Mae and another participant. NOTE: This is the identifier assigned by the Fannie Mae Multifamily DUS Gateway system. |  | Text | Must be a positive integer.
91 | Lack Of GFCI In Wet Locations | Lack Of GFCI In Wet Locations | LackOfGFCIInWetLocationsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes lack of ground fault circuit interrrupter (GFCI) In exterior locations. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
92 | Lack Of GFCI In Exterior Locations | Lack Of GFCI In Exterior Locations | LackOfGFCIInExteriorLocationsIndicator | R | An indicator identifying whether current known problematic building material (KPBM) includes lack of ground fault circuit interrrupter (GFCI) In exterior locations. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
93 | Modules Completed Indicator - Solar PV | Solar PV Module Completed? | SolarPVModuleCompletedIndicator | O | A code indicating the completion of the Solar Photovoltaic Module. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
94 | Seismic Risk Assessment Required | Seismic Risk Assessment Required Indicator | PropertySeismicRiskAssessmentReportRequiredIndicator | R | A code indicating whether or not a Seismic Risk Assessment Report must be submitted prior to loan acquisition. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
95 | Cladding Type | Cladding Type | CladdingType | R | A code indicating the type of exterior covering or coating visible on a property structure or material. | Brick Veneer Exterior Insulation and Finish System -EIFS Fiber Cement Planks or Tiles Glazing - Impact Rated Glazing - Not Impact Rated Metal Sheathing Precast Concrete Stucco Unreinforced Masonry Vinyl Siding Vinyl Siding - terminating at least 12" above ground Wood Siding Wood Siding - terminating at least 12" above ground and/or with fire retarding treatment Other | Text | Must be one of the entries from the list of Allowable Values.
96 | Other Cladding Type Description | Cladding Type Other Description | OtherCladdingTypeDescription | C | A brief description of the exterior covering or coating visible on a property structure or material that is not within the existing list of cladding types. |  | Text | Free form text, 1 to 100 characters in length. Required if Cladding Type is 'Other'.
97 | Roof Geometry Type | Roof Geometry Type | RoofGeometryType | R | A code indicating the skeleton of the roof type and roof shapes used in building a property structure which helps to determines the impact of various climate perils. | Braced Gable Flat - parapets Flat - no parapets Gable Hip Other | Text | Must be one of the entries from the list of Allowable Values.
98 | Other Roof Geometry Type Description | Roof Geometry Type Other Description | OtherRoofGeometryTypeDescription | C | A brief description of the skeleton of the roof type and roof shapes of the subject property that is not within the existing list of roof geometry types. |  | Text | Free form text, 1 to 100 characters in length. Required if Roof Geometry Type is 'Other'.
99 | Plumbing Insulation Present? | Plumbing Insulation Type | PlumbingInsulationType | R | A code indicating the presence of plumbing insulation in a property structure that minimizes the likelihood of frozen plumbing during a freeze storm. | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
100 | Roof Ventilation Present? | Roof Ventilation Indicator | RoofVentilationIndicator | R | A code indicating whether roof ventilation is present in a property structure that allows the maintenance of a cold attic space minimizing the likelihood of ice dam occurrence. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
101 | Equipment Earthquake Bracing? | Equipment Earthquake Bracing Indicator | EquipmentEarthquakeBracingIndicator | O | A code indicating if mechanical and electrical equipment are braced against vertical structural elements or anchored to the floor or roof to reduce the damage during earthquake. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
102 | Openings Heat/Wildfire Resistant? | Opening Heat Resistance Type | OpeningsHeatResistanceType | R | A code indicating the presence of wildfire vulnerable skylights type (including types such as plastic skylights) or wildfire resistant skylights type (including skylights made of tempered glass or glass with steel reinforced mesh inside) in a property structure. | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
103 | Ground Level Equipment? | Ground Level Equipment Indicator | GroundLevelEquipmentIndicator | O | A code indicating whether equipment including heating, ventilation, and air conditioning (HVAC), electrical outlets and electrical, gas, or water meters are present at the ground level. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
104 | Storm Drainage System | Storm Drainage System Type | StormDrainageSystemType | R | A code indicating the type of storm drainage system present in the property structure. | French Drains Rain Catchment Retention / Detention Ponds Sump Pump None Other | Text | Must be one of the entries from the list of Allowable Values.
105 | Other Storm Drainage System Description | Storm Drainage System Type Other Description | OtherStormDrainageSystemTypeDescription | C | A brief description of the storm drainage system type present in the property structure that is not within the list of existing storm drainage system types. |  | Text | Free form text, 1 to 100 characters in length. Required if Storm Drainage System Type is 'Other'.
106 | Wildfire Resistant Roof Vents | Wildfire Resistant Roof Vents Type | WildfireResistantRoofVentsType | R | A code indicating the presence of wildfire resistant roof vents in a property structure that prevents embers and smoke from infiltrating the structure causing ignitions and, smoke damage. | Yes No Unknown None | Text | Must be one of the entries from the list of Allowable Values.
107 | Roof Anchor | Roof Anchor Type | RoofAnchorType | R | A code indicating the type of anchor used for connecting the roof framing elements to the supporting walls of a property structure. | Clips Double wraps Single wraps Structural Toe nailing / No anchorage Unknown | Text | Must be one of the entries from the list of Allowable Values.
108 | Patio Deck | Patio Deck Type | PatioDeckType | R | A code indicating the type of exterior deck patios and decking used (e.g. wooden, non-combustible decking) that are attached to the building, that are a common source of structure ignitions from heat and embers during a wildfire. | All or partial wooden structure None Non-wooden structure | Text | Must be one of the entries from the list of Allowable Values.
109 | Observed Structural Distress | Observed Structural Distress Indicator | ObservedStructuralDistressIndicator | R | A code indicating whether or not the engineer observed any symptoms of structural distress within the property structure (e.g., cracking due to aging, ground settlement, fatigue, overloading, or previous earthquakes). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
110 | Site Plan Geometry | Site Plan Geometry Type | SitePlanGeometryType | R | A code indicating the geometry type of the property building site plan. | Regular (square, rectangular, circular) Irregular (L-shaped, T-shaped, U-shaped) | Text | Must be one of the entries from the list of Allowable Values.
111 | Lowest Floor Level Occupied | Lowest Floor Level Occupied | LowestFloorLevelOccupied | R | A number represents at which floor level the housing unit starts (i.e. start on 3rd floor, then enter 3; if it starts in the basement, then enter 0). |  | Integer | Must be a whole number, between 0 to 9999.
112 | Interior Sprinkler System Present? | Interior Sprinkler System Present Indicator | InteriorSprinklerSystemPresentIndicator | R | A code indicating the presence of interior sprinklers within the property structure. | Yes No | Text | Must be one of the entries from the list of Allowable Values.
113 | Sprinkler System Type | Sprinkler System Type | SprinklerSystemType | R | A code indicating the type of sprinkler system present in the property structure. | Dry Wet Wet and Dry None | Text | Must be one of the entries from the list of Allowable Values.
114 | Tree Hazard | Tree Hazard Indicator | TreeHazardIndicator | O | A code indicating whether or not the tree in the area surrounding the property poses a potential hazard (e.g. facilitates the spread of wildfire, or is subject to collapse due to an ice storm, etc). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
115 | Ember Accumulators? | Ember Accumulators Present Indicator | EmberAccumulatorsPresentIndicator | R | A code indicating whether or not there are areas within the property where wind-born embers may collect and result in the potential ignition of combustible structures (e.g. inside corners, junctions betwen horizontal surfaces, and depressions such as stairwells or area ways). | Yes No | Text | Must be one of the entries from the list of Allowable Values.
116 | First Floor Height | First Floor Height Type | FirstFloorHeightType | R | A code indicating the range, measured in feet, capturing the height of the first floor of a building above ground. | Less than 12 feet Greater than or equal to 12 feet | Text | Must be one of the entries from the list of Allowable Values.
117 | Ice Dam Protection? | Ice Dam Protection Type | IceDamProtectionType | R | A code indicating the presence or absence of an ice dam protective membrane installed on the roof(s) of the property. Presence of which can mitigate potential water damage arising from gutter ice damming. | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
118 | Snow Guards? | Snow Guards Type | SnowGuardsType | R | A code indicating the presence or absence of snow guards installed in the roof of a property structure to facilitate snow distribution over the slope of the roof potentially mitigating the formation of ice dams. | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
119 | Fire Service Accessibility | Fire Service Response Type | FireServiceResponseType | R | A code indicating the typical amount of time elapsed necessary for fire fighters to respond to an emergency at the property. This can significantly impact the likelihood of structure survival in a wildfire. | Less than 20 minutes Between 20 and 40 minutes Greater than 40 minutes | Text | Must be one of the entries from the list of Allowable Values.
120 | Building Retrofitted for Flood Resiliency? | Building Retrofitted for Flood Resiliency Type | BuildingRetrofittedForFloodResiliencyType | R | A code indicating whether modifications to buildings have been made in order to make them more resilient to flooding (e.g., proactively move mechanicals to the roof). | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
121 | Roof Equipment Hurricane Bracing? | Roof Equipment Hurricane Bracing Type | RoofEquipmentHurricaneBracingType | R | A code indicating whether the equipment on the roof of a property structure is anchored to withstand the impact of a hurricane. | Yes No Unknown | Text | Must be one of the entries from the list of Allowable Values.
122 | Heating Fuel Type | Heating Fuel Type | HeatingFuelType | R | A code indicating the primary type of fuel utilized in the heating system(s) for residential units. | District Cooling District Hot Water District Steam Electricity Fuel Oil #2 Fuel Oil #4 Fuel Oil #6 Natural Gas Propane Other | Text | Must be one of the entries from the list of Allowable Values.
123 | Other Heating Fuel Description | Heating Fuel Type Other Description | OtherHeatingFuelTypeDescription | C | A brief description of the primary fuel type utilized in the heating system(s) for residential units that is not within the list of existing fuel types. |  | Text | Free form text, 1 to 100 characters in length. Required if Heating Fuel Type is 'Other'.
124 | Hot Water Fuel Type | Hot Water Fuel Type | HotWaterFuelType | R | A code indicating the primary type of fuel utilized in the water heating system(s) for residential units. | District Cooling District Hot Water District Steam Electricity Fuel Oil #2 Fuel Oil #4 Fuel Oil #6 Natural Gas Propane Other | Text | Must be one of the entries from the list of Allowable Values.
125 | Other Hot Water Fuel Description | Hot Water Fuel Type Other Description | OtherHotWaterFuelTypeDescription | C | A brief description of the primary fuel type utilized in the water heating system(s) that is not within the list of existing fuel types. |  | Text | Free form text, 1 to 100 characters in length. Required if Hot Water Fuel Type is 'Other'.
126 | Heating Fuel Paid By | Heating Fuel Responsible Party | HeatingFuelResponsibleParty | R | A code indicating the entity type responsible for paying the fuel cost used in heating residential units. | Owner Tenant Mixed | Text | Must be one of the entries from the list of Allowable Values.
127 | Hot Water Fuel Paid By | Hot Water Fuel Responsible Party | HotWaterFuelResponsibleParty | R | A code indicating the entity type responsible for paying the fuel cost used in heating the water within residential units. | Owner Tenant Mixed | Text | Must be one of the entries from the list of Allowable Values.
128 | Foundation Type | Foundation Type | FoundationType | R | A code indicating the type of foundations for load bearing walls used in construction of property structure. | Basement Block Pier Concrete Runner Concrete Slab Crawl Space Partial Basement Poured Concrete Unknown | Text | Must be one of the entries from the list of Allowable Values.
129 | Climate Hazard Comment | Climate Hazard Comment | ClimateHazardComment | O | A free-form text to capture important information that the third-party assessor may want to highlight about the property and surroundings with respect to climate hazard. |  | Text | Free form text, 1 to 500 characters in length.
130 | Fannie Mae Collateral Reference Number | Collateral Reference Number | CollateralReferenceNumber | O | A unique number assigned by Fannie Mae to identify the collateral, referenced by its Deal Identifier. For a regular flow deal, there is one Collateral to one Deal. However, there may be more than one Collateral for a Structured Deal. |  | Text | 10-character long for flow deals, 14-character long for structured deals, including leading zeroes.
131 | PCA Data Record Type | PCA Data Record Type | PCADataRecordType | R | A code indicating the record type in the PCA data in CSV format to be received by Fannie Mae. This code is purely for technical purposes while processing the incoming PCA data. | M - Main I - Immediate Repairs C - Capital Item | Text | Must be one of the entries from the list of Allowable Values. The code M is for the main record; the codes I and C are for the child record and only one of I and C is used in each child record.
132 | Immediate Repair Item Category | Immediate Repair Category | ImmediateRepairCategory | C | A code identifying the category of immediate repair needed in the property. | Life Safety Repairs Critical Repairs Deferred Maintenance Items of Note Short Term Replacement of Capital Items | Text | Must be one of the entries from the list of Allowable Values. Required if PCA Data Record Type is 'I'.
133 | Capital Item Action | Capital Item Action | CapitalItemAction | R | A code indicating whether an action is recommended on each capital item identified. | IM - Immediate Repair INV - Investigation is Recommended RR - Replacement Reserves R&M - Repair & Maintenance NA - Not Applicable No | Text | Must be one of the entries from the list of Allowable Values.
134 | Immediate Repair Item | Immediate Repair Item | ImmediateRepairItemDescription | C | A free-form text to capture the complete description of immediate repair needed in the property to include quantities and cost per unit. |  | Text | Free form text, 1 to 1000 characters in length. Required if PCA Data Record Type is 'I'.
135 | Immediate Repair Cost | Immediate Repair Cost | ImmediateRepairCost | C | The dollar amount needed for the same immediate repair item. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero. Required if PCA Data Record Type is 'I'. For Streamlined PCA, Items of Note, if any, should be $1,000.00 or less per item.
136 | Capital Item Category | Capital Item Category | CapitalItemCategory | C | A code identifying the category of capital items in the property. | Site Components Structural Frame and Building Envelope (Architectural Components) Mechanical, Electrical and Plumbing Systems Vertical Transportation, Including Elevators and Stairs Life Safety and Fire Protection Interior Elements (Dwelling Units and Common Areas) | Text | Must be one of the entries from the list of Allowable Values. Required if PCA Data Record Type is 'C'.
137 | Capital Item | Capital Item | CapitalItem | C | A code identifying the type of capital items in the property. | Alternative Energy Systems Amenities Cable or Internet Availability Amenities HotTub/Spa Amenities Picnic Areas Amenities Playground Amenities Sport Courts Amenities Swimming Pool Amenities Tennis Courts Amenities Tot Lots Curbs and Gutter Dwelling Units Emergency Generator Fencing Patio Fencing Perimeter Fencing Refuse Area Fencing Swimming Pool Fencing Tennis Court Irrigation Landscaping Parking Area Lighting Parking Pavement Parking Structures Pool/Spa Deck Surface Pool/Spa Plaster/Lining Plumbing Systems and Domestic Hot Water Ramps Seal coat and Striping Sidewalks Signage Site/Building Lighting Storm Drainage Transformers Utilities (sanitary and storm sewers, water, gas and electric lines/mains) Water Features Water Wells Amenities Handrails Balconies, Stairs and Upper Level Walkways Cladding Exterior Doors and Frames Exterior Walls, Siding, Paint Foundations Roof Coverings Roof Drainage Roof Systems Structural System Framing Windows and Frames Air Conditioning Equipment Building Management Systems Domestic Water Supply Lines And Distribution Electrical Systems Gas Distribution System Heating Equipment Lift Stations Pool Pump and Filtration Equipment Pool/Spa Filtration Equipment Pool/Spa Heating Equipment Waste Service Lines Waste Water Treatment System Water Heaters Elevators Exterior Steps Carbon Monoxide Detectors (if required) Fire Alarms Fire Suppression Security Alarms Wet Sprinklers In Common Area Wet Sprinklers Inside The Units Dry Sprinklers In Common Area Dry Sprinklers Inside The Units Barbecue Bathroom Cabinetry/Vanity Cable or Internet Availability Common Area Amenities Common Area FF&E Common Area Finishes Doors and Windows Handrails Overall Unit Interiors Kitchen Appliances Kitchen Cabinetry and Countertops Unit Cabinetry Vanity Unit Finishes Unit Washer/Dryer Unit Refrigerator Unit Range/Oven Unit Microwave Oven Unit Dishwasher Unit Washing Machine Unit Clothes Dryer | Text | Must be one of the entries from the list of Allowable Values. Required if PCA Data Record Type is 'C'.
138 | Capital Item Total Cost over Eval. Period | Capital Item Total Cost Over Evaluation Period | CapitalItemTotalCostOverEvaluationPeriod | C | The dollar amount as present value needed for the same capital item. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero. Required if PCA Data Record Type is 'C'.
139 | Capital Item Remaining Useful Life | Capital Item Remaining Useful Life | CapitalItemRemainingUsefulLife | O | The range of years representing the balance of useful life of a capital item. |  | Text | Free form text, 1 to 100 characters in length. May be entered if PCA Data Record Type is 'C'.
140 | Capital Item Year 1 | Capital Item Year 1 | CapitalItemYear1 | O | The dollar amount as present value needed for the same capital item forecasted for year 1. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
141 | Capital Item Year 2 | Capital Item Year 2 | CapitalItemYear2 | O | The dollar amount as present value needed for the same capital item forecasted for year 2. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
142 | Capital Item Year 3 | Capital Item Year 3 | CapitalItemYear3 | O | The dollar amount as present value needed for the same capital item forecasted for year 3. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
143 | Capital Item Year 4 | Capital Item Year 4 | CapitalItemYear4 | O | The dollar amount as present value needed for the same capital item forecasted for year 4. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
144 | Capital Item Year 5 | Capital Item Year 5 | CapitalItemYear5 | O | The dollar amount as present value needed for the same capital item forecasted for year 5. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
145 | Capital Item Year 6 | Capital Item Year 6 | CapitalItemYear6 | O | The dollar amount as present value needed for the same capital item forecasted for year 6. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
146 | Capital Item Year 7 | Capital Item Year 7 | CapitalItemYear7 | O | The dollar amount as present value needed for the same capital item forecasted for year 7. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
147 | Capital Item Year 8 | Capital Item Year 8 | CapitalItemYear8 | O | The dollar amount as present value needed for the same capital item forecasted for year 8. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
148 | Capital Item Year 9 | Capital Item Year 9 | CapitalItemYear9 | O | The dollar amount as present value needed for the same capital item forecasted for year 9. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
149 | Capital Item Year 10 | Capital Item Year 10 | CapitalItemYear10 | O | The dollar amount as present value needed for the same capital item forecasted for year 10. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
150 | Capital Item Year 11 | Capital Item Year 11 | CapitalItemYear11 | O | The dollar amount as present value needed for the same capital item forecasted for year 11. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
151 | Capital Item Year 12 | Capital Item Year 12 | CapitalItemYear12 | O | The dollar amount as present value needed for the same capital item forecasted for year 12. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
152 | Capital Item Year 13 | Capital Item Year 13 | CapitalItemYear13 | O | The dollar amount as present value needed for the same capital item forecasted for year 13. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
153 | Capital Item Year 14 | Capital Item Year 14 | CapitalItemYear14 | O | The dollar amount as present value needed for the same capital item forecasted for year 14. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
154 | Capital Item Year 15 | Capital Item Year 15 | CapitalItemYear15 | O | The dollar amount as present value needed for the same capital item forecasted for year 15. |  | Dollar | Numeric value with two decimal places, greater than or equal to zero.
155 | Fannie Mae Deal Identifier | Deal Identifier | DealIdentifier | R | The valid DUS Gateway Deal Identifier, a unique identifier assigned by Fannie Mae to identify a transaction between Fannie Mae and another participant. NOTE: This is the identifier assigned by the Fannie Mae Multifamily DUS Gateway system. |  | Text | Must be a positive integer.
156 | Capital Item Effective Age | Capital Item Effective Age | CapitalItemEffectiveAge | O | The range of years representing the effective age of a capital item. |  | Text | Free form text, 1 to 100 characters in length. May be entered if PCA Data Record Type is 'C'.
157 | Immediate Repair Unit Of Measure | Immediate Repair Unit Of Measure | ImmediateRepairUnitOfMeasure | O | The Unit of Measure for the Immediate Repair Item | ALLOW Allowance CF cubic foot EA each LB pound LF linear foot MD Man Day (Labor cost per person per day) SF square foot SY square yard UNIT unit YD yard | Text | Must be one of the entries from the list of Allowable Values.
158 | Immediate Repair Quantity | Immediate Repair Quantity | ImmediateRepairQuantity | O | An integer to capture the number of Immediate Repair Item |  | Integer | Must be a whole number, between 0 to 9999.
159 | Immediate Repair Unit Cost | Immediate Repair Unit Cost | ImmediateRepairUnitCost | O | Unit Cost of the Immediate Repair Item, in dollars and cents |  | Dollar | Numeric value with two decimal places, greater than or equal to zero. If Immediate Repair Quantity and Immediate Repair Unit Cost are entered, Immediate Repair Unit Cost is calculated by multiplying the two values.

## Change Log
DUS Property Condition Assessment Data Set - Change Log
Modified allowable values for Immediate Repair Unit Of Measure to include: ALLOW, CF, EA, LB, LF, MD, SF, SY, UNIT, YD
Modified allowable values for Capital Item Action to include: IM, INV, RR, R&M, NA, No
Modified allowable values for PCA Record Type to include: M, I, C
Modified allowable values for Third Party Report Scope Standard to include: ASTM E2018
Modified allowable values for Third Party Report Type to include: PCA
Modified attribute Property Name to be Required instead of Optional
Added the data attribute Aluminum Branch Wiring
Added the data attribute Compressed Wood or Composite Board Siding
Added the data attribute Electrical Overload Protection - Fused Subpanels
Added the data attribute Exterior Insulation and Finishing (EIFS)
Added the data attribute Federal Pacific Electric Stab-Lok panels
Added the data attribute Fire Retardant Treated Plywood (FRTP)
Added the data attribute Galvanized Steel Water Distribution Lines
Added the data attribute Ground Fault Circuit Interrupter (GFCI) in Wet / Exterior Locations
Added the data attribute Microbial Growth
Added the data attribute Polybutylene Water Distribution Lines
Added the data attribute Problem Drywall
Added the data attribute Recalled Cadet Brand Electric in-Wall Heaters
Added the data attribute Recalled Fire Sprinkler Heads (Central, Omega, Gem, Star)
Added the data attribute Recalled General Electric / Hotpoint Dishwashers
Added the data attribute Unit Electrical Capacity Less Than 60 Amps
Added the data attribute Wood Destroying Organisms
Added the data attribute Lack Of GFCI In Wet Locations
Added the data attribute Lack Of GFCI In Exterior Locations
Added the data attribute KPBM Other
Added the data attribute KPBM Other Description
Removed the data attribute Known Problematic Building Materials (KPBM)
Added explanatory notation to definition of attribute Deal Identifier
Added the required data point Seismic Risk Assessment Required
Added the required data point Cladding Type
Updated standard business name for the conditionally required data point Cladding Type Other Description
Added the required data point Roof Geometry Type
Updated standard business name for the conditionally required data point Roof Geometry Type Other Description
Added the required data point Plumbing Insulation Type
Added the required data point Roof Ventilation Indicator
Made optional the data point Equipment Earthquake Bracing Indicator
Added the required data point Opening Heat Resistance Type
Made optional the data point Ground Level Equipment Indicator
Added the required data point Storm Drainage System Type
Updated standard business name for the conditionally required data point Storm Drainage System Type Other Description
Added the required data point Wildfire Resistant Roof Vents Type
Added the required data point Roof Anchor Type
Added the required data point Patio Deck Type
Added the required data point Observed Structural Distress Indicator
Updated definition for the required data point Site Plan Geometry Type
Added the required data point Lowest Floor Level Occupied
Updated name, definition and allowable values for the required data point Interior Sprinkler System Present Indicator
Updated name, definition and allowable values for the required data point Sprinkler System Type
Updated name and definition and made optional the data point Tree Hazard Indicator
Added the required data point Ember Accumulators Present Indicator
Added the required data point First Floor Height Type
Added the required data point Ice Dam Protection Type
Added the required data point Snow Guards Type
Updated name for the required data point Fire Service Response Type
Added the required data point Building Retrofitted for Flood Resiliency Type
Added the required data point Roof Equipment Hurricane Bracing Type
Added the required data point Heating Fuel Type
Updated standard business name the conditionally required data point Heating Fuel Type Other Description
Added the required data point Hot Water Fuel Type
Updated standard business name the conditionally required data point Hot Water Fuel Type Other Description
Added the required data point Heating Fuel Responsible Party
Added the required data point Hot Water Fuel Responsible Party
Added the required data point Foundation Type
Added the optional data point Climate Hazard Comment